ADDENDUM NO. 2

BID NO.  23-05

SEWER REHABILITATION

(GILES LANE & ROUTE 40 AREAS)

To all holders of the specifications, the following corrections are hereby made.  All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project.

Acknowledgement of Addendum

Name: ___________________________________________________

Company: ________________________________________________

Date: ____________________________________________________

Signature: ________________________________________________

Q1: Do you have any profile sheets or anything showing depth of the sewer lines requiring rehabilitation?  Can you also confirm that all manholes requiring rehab are standard 48” diameter?

A1:  The only info available is manhole depths as shown in the table below.  The manholes are at least the standard size of 48” if not larger.

| MANHOLE ID | INVERT | ELEVATION |
| --- | --- | --- |
| SMH-1244 | 169.4 | 178.337 |
| SMH-1120 | 168.4 | 175.906 |
| SMH-1119 | 166.5 | 182.706 |
| SMH-0001 | - | - |
| SMH-1050 | 166.5 | 175.447 |
| SMH-1245 | 164.8 | 172.061 |
| SMH-1246 | 164.3 | 170.553 |
| SMH-1665 | - | - |
| SMH-0459 | 161.1 | 168.417 |
| SMH-0434 | 159.5 | 167.041 |
| SMH-1090 | 157.1 | 168.609 |
| SMH-0435 | 154.9 | 164.045 |
| SMH-0365 | 151.3 | 158.807 |
| SMH-0436 | 147.4 | 156.252 |
| SMH-1424 | 146.6 | 150.998 |