ADDENDUM NO. 1

BID NO.  24-04

COA & APG GENERATOR MAINTENANCE

To all holders of the specifications, the following corrections are hereby made.  All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project.

Acknowledgement of Addendum

Name: ___________________________________________________

Company: ________________________________________________

Date: ____________________________________________________

Signature: ________________________________________________

Q1: “It is stated that there are 46 generators broken into groups. The water generator sets for “City generator units” states that there are 4 gens when only 3 are listed. 5.1,5.2, & 5.3 are the only 3 gens listed. Is there a 4th? If so, can you please provide the generator information?”

A1:  The HEAT Center Water Booster Station should have been included but was omitted from the specifications.  See Below:

Generator Address: R 3659 Churchville Road

Address name: H.E.A.T. Center Water Booster Station

Manufacturer: Kohler   Kw: 375.00   Model: 400R0ZD71

Serial number: 365673   Engine Manufacturer: Detroit Diesel

Engine unit number: 08VF167379   Serial number: 7A50442

Engine model number: 80837416   Engine Spec: A 299939

Q2: “Is generator 4.14 (NORTH GATE COPT PROJECT) to be included in the bid even though it states that this unit does not yet belong to the City? If so, can the generator information be provided?”

A2:  No, the Northgate/COPT Pump Station site should not be included in bids.

Q3: “Do you know the size (kw) for generator 8.3?”

A3:  The generator at site 8.3 is rerated at 600.0 kw 3ph.

Q4: “In the general provisions document there are a few terms and conditions that we would need to negotiate if awarded the contract. Would negotiations be after the award, or should we submit the revisions with the bid package?”

A4: Terms and Conditions are not negotiable.