CENTERVILLE CITY CONCEPTUAL SITE PLAN CHECKLIST

Conceptual Site Plan – Completeness Checklist The following application, information, fees, and documentation is required for a Conceptual Site Plan application completeness review. Project Name: Date: TRACKING HISTORY: Application Submitted: Completeness Checklist DRC Meeting (1): Completeness Checklist DRC Meeting (2) X –

| Application Requirement | Code Reference | Department | Comments |  |
| --- | --- | --- | --- | --- |
| Complete Online Application Form | 12.21.110 | Planning |  |  |
| Application Fees | 20.130 | Planning |  |  |
| A current title report disclosing all recorded matters of title regarding the parcel which is prepared and dated not more than 30 days from the date of submittal of the application. | 15.02.020 | Legal |  |  |
| List of current owners of each property as indicated by current records of the Davis County Recorder’s Office. | 12.21.110 | Planning |  |  |
| Provide a statement describing the proposed project ( Proposed use of the buildings and site). | 12.21.110 | Planning |  |  |
| Copies of any agreements with adjacent property owners relevant to the proposed boundary line adjustment. | 12.21.110 | Legal |  |  |
| Signed Property Owner Affidavit | 12.21.110 | Planning/ Legal |  |  |
| Plan Set including: - Cover sheet - Existing Conditions Inventory Sheet/Survey - Site Plan - Grading and Drainage Sheet - Utility Plan Sheet - Building Elevation Sheet | 12.21.110 |  |  |  |
| Site Plan |  |  |  |  |
| Plans shall be drawn at a scale no smaller than one inch equals 100 feet One electronic copy shall be submitted Each Sheet should include the following: - Engineer Contact information - Name - Phone number - Firm - Address - Page number - North Arrow - Scale | 12.21.110 | Planning |  |  |
| Site Plan Cover Page: |  |  |  |  |
| Cover Page including the following: - Engineer Contact information - Name - Phone number - Firm - Address - Development Use - Engineer Stamp - Vicinity Map | 12.21.110 & 15.05.060 | Planning |  |  |
| Site Plan Sheet |  |  |  |  |
| Site address | 12.21.110 | Planning |  |  |
| Total acreage | 12.21.110 | Planning |  |  |
| Tax identification number for the parcel | 12.21.110 | Planning |  |  |
| Legal description of the property and parcel number | 12.21.110 | Planning |  |  |
| The boundary lines of all lots in the project showing: - Dimensions - Square footage - Orientation - Topography | 12.21.110 | Planning |  |  |
| Subject property existing and proposed buildings: - Location - Height - Setbacks | 12.21.110 | Planning |  |  |
| Relationship of the property to adjoining properties and uses for of existing and proposed buildings: - Location - Height - Setbacks | 12.21.110 | Planning |  |  |
| Location, arrangement and layout of landscaping and open space (addental checklist is required) | 12.21.110 | Planning |  |  |
| An elevation plan drawn to scale showing elevations of existing and proposed structures | 12.21.110 | Planning |  |  |
| Layout, dimensions, and names of existing and future road right-of-way, private street, and sidewalks | 12.21.110 | Public Works |  |  |
| Traffic circulation patterns | 12.21.110 | Engineering |  |  |
| Pedestrian circulation patterns | 12.21.110 | Engineering |  |  |
| Access to the property | 12.21.110 | Engineering/ Public Works |  |  |
| Preliminary Parking Plan ( separate checklist) | 12.21.110 | Planning/ Public Works |  |  |
| Location, number, type, and size of signs | 12.21.110 | Planning |  |  |
| Proposed reservations for parks, playgrounds, school, and other public facility sites, if any; | 12.21.110 | Planning/ Public Works |  |  |
| Table of Development Standards: - Setbacks from all property lines - Impervious surface sq ft and % - Structure heights - Distance between buildings - Parking - Density - Landscape buffering - Floor area | 12.21.110 | Planning |  |  |
| A development schedule indicating the approximate date when construction or its stages can be expected to begin and be completed | 12.21.110 | Planning/ Engineering/ Public Works |  |  |
| Any existing easements, driveways, utilities and infrastructure improvements | 12.21.110 | Planning |  |  |
| Existing Conditions Inventory/ Survey Sheet: |  |  |  |  |
| A topographical drawing prepared by a licensed surveyor or civil engineer, showing existing topography in dashed lines at two foot intervals (in the Hillside Overlay Zone) or 5 ft intervals in all other areas and showing the proposed grade in solid lines at two foot intervals structurers | 12.55.134 | Planning |  |  |
| Depiction of streams drainage course. | 12.50.040 | Engineering |  |  |
| Depiction of floodplains located on or within 100 feet of the subject property. | 12.50.040 | Engineering |  |  |
| Floodplains shall be as delineated on Federal Emergency Management Agency (FEMA) flood insurance rate maps | 12.50.040 | Public Works- Drainage |  |  |
| Floodplain elevations for a 100 year flood event shall be depicted by topographic delineation | 12.50.040 | Public Works- Drainage |  |  |
| Depiction of the slope categories based on the City topographic maps: - 0-10%; - 10-20%; - 20-30%; and 30% or more. | 12.50.040 | Engineering |  |  |
| Depiction of sensitive soils (as identified on any soil survey prepared for a government body). | 12.50.040 | Engineering |  |  |
| Description of soil limitations on development | 12.50.040 | Engineering |  |  |
| Description of soils with severe limitation shall be noted separately | 12.50.040 | Engineering |  |  |
| Depiction of seasonal high water table | 12.50.040 | Engineering |  |  |
| Depiction of flood hazard | 12.50.040 | Public Works- Drainage/ Engineering |  |  |
| Depiction of poor drainage | 12.50.040 | Public Works- Drainage/ Engineering |  |  |
| Depiction of wetland/hydric soil conditions | 12.50.040 | Engineering |  |  |
| Depiction of high shrink/swell potential | 12.50.040 | Engineering |  |  |
| Depiction of shallow depth to bedrock | 12.50.040 | Engineering |  |  |
| Depiction of excessive slopes | 12.50.040 | Engineering |  |  |
| Depiction of high susceptibility to erosion | 12.50.040 | Engineering |  |  |
| Depiction of wetlands which are required to be delineated by the Clean Water Act. | 12.50.040 | Public Works- Drainage/ Engineering |  |  |
| Depiction wetlands by a line denotating the boundaries | 12.50.040 | Public Works- Drainage/ Engineering |  |  |
| A copy of any application for authorization to impact or alter wetlands | 12.50.040 | Public Works- Drainage/ Engineering |  |  |
| Depiction of shrub and tree stands (as indicated by recent aerial photos) | 12.50.040 | Engineering |  |  |
| Depiction of the shrub and tree area by a circumferential line extending to the outer perimeter of the tree or shrub canopies | 12.50.040 | Engineering |  |  |
| Depiction of any existing utility line, aqueduct, dam, ditch, or canal located within the area subject to the ECI. | 12.50.040 | Engineering |  |  |
| Depiction of any area which may be flooded in the event an aqueduct, dam, ditch, or canal fails, as contained in any study conducted and/or possessed by the City or the Utah State Engineer | 12.50.040 | Engineering |  |  |
| Depiction of areas identified as special protection areas in this Title, the General Plan, and other documents adopted by the City, including, but not limited to, wellhead protection areas and groundwater recharge areas | 12.50.040 | Planning/ Engineering |  |  |
| Depiction of cultural and historic resources, including cemeteries, identified in the General Plan | 12.50.040 | Planning |  |  |
| Note whether the property is located within a designated historic district. | 12.50.040 | Planning |  |  |
| Source of the ECI data | 12.50.040 |  |  |  |
| If a factor is not applicable to the subject property, the ECI shall include a note to that effect. | 12.50.040 |  |  |  |
| Grading and Drainage Sheet: NOT REQUIRED BUT NEEDED FOR FINAL |  |  |  |  |
| Topography contours at 5-foot intervals |  | Public Works/ Engineering |  |  |
| Areas of substantial earth moving with an erosion control plan |  | Public Works/ Engineering |  |  |
| Proposed method of dealing with all irrigation and wastewater |  | Public Works/ Engineering |  |  |
| Location of existing: - water course - canals - ditches - springs - wells - culverts - storm drains |  | Public Works/ Engineering |  |  |
| Location of any designated floodplain and/or wetland boundaries |  | Public Works/ Engineering |  |  |
| Utility Plan Sheet: |  |  |  |  |
| All existing and proposed utilities including, but not limited to: - Sewer - culinary water - secondary water - fire hydrants - storm drains - subsurface drains - gas lines - power lines - communications lines - cable television lines - streetlights | 12.21.110 | Public Works/ Engineering |  |  |
| Location and dimensions of all utility easements | 12.21.110 | Public Works/ Engineering |  |  |
| Building Elevations Sheet: |  |  |  |  |
| Accurate front, rear, and side elevations drawn to scale | 12.21.110 | Planning |  |  |
| Exterior surfacing materials and colors, including roofing material and color | 12.21.110 | Planning |  |  |
| Outdoor lighting, furnishings, and architectural accents | 12.21.110 | Planning |  |  |
| Location and dimensions of signs proposed to be attached to the buildings or structure | 12.21.110 | Planning |  |  |
| Location and height of existing and proposed walls and fences | 12.21.110 | Planning |  |  |
| Height, bulk and preliminary elevations of proposed buildings | 12.21.110 | Planning |  |  |

Following the Planning Commission meeting, a notice of decision shall be sent to the applicant, which notice shall include:

  - Decision

If approved,

  - Conditions of approval

  - Findings that support the approval

If denied,

2.   Findings that support the denial

If tabled,

2.   Reasoning for tabling the decision

3.   Date of next meeting

Any person adversely affected by a final decision of the Planning Commission regarding the transfer, issuance, revocation or denial of a conditional use permit may appeal that decision to the Board of Adjustment as provided in CZC 12.21.200.

The next step will be to apply for a final site plan.

A conceptual site plan approval shall expire and have no further force or effect if a completed application for final site plan approval is not submitted within one year after the conceptual site plan is approved.