# CITY OF CLARKSBURG PUBLIC WORKS DEPARTMENT

## SALT STORAGE BUILDING BID SPECIFICATION CHECKLIST

Project: Salt Storage Building Construction Project
Location: Public Works Facility
Structure Size: 40' x 40' x 13' Double Truss Roof System
Based on the project specifications contained in the bid package.

# SCOPE OF WORK COMPLIANCE CHECKLIST

### 1. CONCRETE BIN BLOCK SUPPLY & INSTALLATION

| Requirement | Yes | No |
| --- | --- | --- |
| Furnish and deliver seventy-two (72) 6-foot concrete bin blocks | ☐ | ☐ |
| Furnish and deliver eight (8) corner concrete bin blocks | ☐ | ☐ |
| Furnish and deliver eight (8) 3-foot concrete bin blocks | ☐ | ☐ |
| Install all bin blocks | ☐ | ☐ |
| Align and level all blocks | ☐ | ☐ |
| Interlock blocks as required | ☐ | ☐ |
| Secure blocks to create complete storage structure | ☐ | ☐ |

### 2. REINFORCED CONCRETE FLOOR SLAB

| Requirement | Yes | No |
| --- | --- | --- |
| Furnish approximately 65 cubic yards of 4,000 PSI concrete | ☐ | ☐ |
| Furnish and install reinforcing steel (rebar) | ☐ | ☐ |
| Furnish and install welded wire reinforcement | ☐ | ☐ |
| Drill and epoxy dowel bars into bin blocks | ☐ | ☐ |
| Provide all necessary formwork | ☐ | ☐ |
| Place and finish concrete slab | ☐ | ☐ |
| Saw-cut control joints | ☐ | ☐ |
| Seal all control joints | ☐ | ☐ |
| Complete final curing | ☐ | ☐ |
| Perform final cleanup of work area | ☐ | ☐ |
| Concrete slab designed for heavy equipment loading | ☐ | ☐ |

### 3. ROOF SYSTEM

| Requirement | Yes | No |
| --- | --- | --- |
| Furnish one (1) 40' x 40' x 13' engineered double truss roof system | ☐ | ☐ |
| Provide complete structural framing package | ☐ | ☐ |
| Provide roof panels and accessories | ☐ | ☐ |
| Provide anchoring system | ☐ | ☐ |
| Provide all hardware and fasteners | ☐ | ☐ |
| Provide shop drawings | ☐ | ☐ |
| Provide engineering certification | ☐ | ☐ |
| Roof system meets WV wind load requirements | ☐ | ☐ |
| Roof system meets WV snow load requirements | ☐ | ☐ |

### 4. CONTRACTOR RESPONSIBILITIES

| Requirement | Yes | No |
| --- | --- | --- |
| Provide all labor | ☐ | ☐ |
| Provide all equipment | ☐ | ☐ |
| Provide all materials | ☐ | ☐ |
| Provide transportation | ☐ | ☐ |
| Provide supervision | ☐ | ☐ |
| Provide temporary safety measures | ☐ | ☐ |
| Maintain required insurance coverage | ☐ | ☐ |
| Complete debris removal and cleanup | ☐ | ☐ |
| Verify all field dimensions and site conditions | ☐ | ☐ |

### 5. BID SUBMISSION REQUIREMENTS

| Requirement Submitted | Yes | No |
| --- | --- | --- |
| Lump Sum Bid Price Included | ☐ | ☐ |
| Bin Block Supply & Installation Cost Breakdown Included | ☐ | ☐ |
| Concrete Work Cost Breakdown Included | ☐ | ☐ |
| Roof System Supply & Installation Cost Breakdown Included | ☐ | ☐ |
| Project Schedule Included | ☐ | ☐ |
| Proof of Insurance Included | ☐ | ☐ |
| WV Contractor License Information Included | ☐ | ☐ |
| References for Similar Projects Included | ☐ | ☐ |

### 6. WARRANTY REQUIREMENTS

| Requirement | Yes | No |
| --- | --- | --- |
| One (1) Year Workmanship Warranty | ☐ | ☐ |
| Manufacturer Material Warranties Provided | ☐ | ☐ |
| Roof System Structural Warranty Provided | ☐ | ☐ |