CITY OF CLARKSBURG PUBLIC WORKS DEPARTMENT
SALT STORAGE BUILDING BID SPECIFICATION CHECKLIST
Project: Salt Storage Building Construction Project
Location: Public Works Facility
Structure Size: 40' x 40' x 13' Double Truss Roof System
Based on the project specifications contained in the bid package. 

SCOPE OF WORK COMPLIANCE CHECKLIST
1. CONCRETE BIN BLOCK SUPPLY & INSTALLATION
	Requirement
	Yes
	No

	Furnish and deliver seventy-two (72) 6-foot concrete bin blocks
	☐
	☐

	Furnish and deliver eight (8) corner concrete bin blocks
	☐
	☐

	Furnish and deliver eight (8) 3-foot concrete bin blocks
	☐
	☐

	Install all bin blocks
	☐
	☐

	Align and level all blocks
	☐
	☐

	Interlock blocks as required
	☐
	☐

	Secure blocks to create complete storage structure
	☐
	☐



2. REINFORCED CONCRETE FLOOR SLAB
	Requirement
	Yes
	No

	Furnish approximately 65 cubic yards of 4,000 PSI concrete
	☐
	☐

	Furnish and install reinforcing steel (rebar)
	☐
	☐

	Furnish and install welded wire reinforcement
	☐
	☐

	Drill and epoxy dowel bars into bin blocks
	☐
	☐

	Provide all necessary formwork
	☐
	☐

	Place and finish concrete slab
	☐
	☐

	Saw-cut control joints
	☐
	☐

	Seal all control joints
	☐
	☐

	Complete final curing
	☐
	☐

	Perform final cleanup of work area
	☐
	☐

	Concrete slab designed for heavy equipment loading
	☐
	☐



3. ROOF SYSTEM
	Requirement
	Yes
	No

	Furnish one (1) 40' x 40' x 13' engineered double truss roof system
	☐
	☐

	Provide complete structural framing package
	☐
	☐

	Provide roof panels and accessories
	☐
	☐

	Provide anchoring system
	☐
	☐

	Provide all hardware and fasteners
	☐
	☐

	Provide shop drawings
	☐
	☐

	Provide engineering certification
	☐
	☐

	Roof system meets WV wind load requirements
	☐
	☐

	Roof system meets WV snow load requirements
	☐
	☐



4. CONTRACTOR RESPONSIBILITIES
	Requirement
	Yes
	No

	Provide all labor
	☐
	☐

	Provide all equipment
	☐
	☐

	Provide all materials
	☐
	☐

	Provide transportation
	☐
	☐

	Provide supervision
	☐
	☐

	Provide temporary safety measures
	☐
	☐

	Maintain required insurance coverage
	☐
	☐

	Complete debris removal and cleanup
	☐
	☐

	Verify all field dimensions and site conditions
	☐
	☐



5. BID SUBMISSION REQUIREMENTS
	Requirement Submitted
	Yes
	No

	Lump Sum Bid Price Included
	☐
	☐

	Bin Block Supply & Installation Cost Breakdown Included
	☐
	☐

	Concrete Work Cost Breakdown Included
	☐
	☐

	Roof System Supply & Installation Cost Breakdown Included
	☐
	☐

	Project Schedule Included
	☐
	☐

	Proof of Insurance Included
	☐
	☐

	WV Contractor License Information Included
	☐
	☐

	References for Similar Projects Included
	☐
	☐



6. WARRANTY REQUIREMENTS
	Requirement
	Yes
	No

	One (1) Year Workmanship Warranty
	☐
	☐

	Manufacturer Material Warranties Provided
	☐
	☐

	Roof System Structural Warranty Provided
	☐
	☐




