# FIRE 					             CITY OF GRAND RAPIDS

PREVENTION					FIRE DEPARTMENT

BUREAU

Open Flame Fire Preforming general requirements.

This is a general list of requirements for open flame performances.   Each site or location might have conditions that will need to be observed by a fire inspector to assess if the performance can safely take place at that location, so on ever proposed fire performance there must be a call for inspection to the Grand Rapids Fire Department.

Also, the Grand Rapids Fire Department has a Fire Performers safety guide Line handout that both the performers and event coordinators should review prior to requesting an inspection.

General list of requirements:

- Site Plan of where the performance will take place, safety barricading to maintain 15’ to the audience from the performer and location of Fire extinguishers.

- List of types of flaming displays. (Poi, Fans…)

- List of performers and what devices they will be using.

- Completed Operational permit.

- A check for the operational permit payable to the City of Grand Rapids Treasure.

- Need a time for the Demo.

We require a 30 day in advance submittal of the information above.  Having worked with these types of events I know sometimes this type of entertainment is a last-minute decision and there is time we can work with the event and make it happen but more often it don’t work out.  So, I advise you to let them know of the time line and for them to contact me as soon as they decide this is the direction they wish to head.

If you need an inspection or require further information, please contact the Grand Rapids Fire department at (616) 456-3900

# FIRE 					             CITY OF GRAND RAPIDS

PREVENTION					FIRE DEPARTMENT

BUREAU

Fire Performers safety guide Line

- General Fire Performance Requirements.

  - A list of Material, Devices, Effects, performance times and locations must be submitted to the Grand Rapids Fire Department prior to the event for approval.

  - Only Material, Devices, Effects, performance time and locations that are approved by the Grand Rapids Fire Department are allowed to be used.

  - All safety provisions must be maintained at all times.

  - The use of drugs and alcohol by performers, support personal and Fire Safety Personal before or during the performance display is strictly prohibited.

- Basic Fire Performance requirements. (This is not an all-inclusive list, performers are responsible to operate safely and to maintain a safe environment protecting the public and themselves from death or injure while performing their displays.)

  - Fire Performers must maintain a 15’ clearance from the leading edge of their flame effects to the audience at all times.

  - Fire Performances are only allowed in designated and secured areas.

  - Only previously approved Material, Devices, Effects, performance time and locations are allowed for any event.

  - A minimum of 2 Fire Safety Personal are required to oversee the effects and observe the audience to maintain all safety clearances and procedures.

  - Fire Safety Personal must have a 2A 10 BC fire extinguisher within 5’ of them at all time when observing the performance.

  - All Fire Safety Personal must have a working knowledge of the proper use of a fire extinguisher.

  - 1 of the 2 Fire Safety Personal must have a wet quench towel within 5’ of them at all times when the performance is taking place.

  - After the performance the Flame producing devices must be stored in a secured area.

- When fueling or refueling your performance device (Poi, Staffs, Fans…)

  - Must be done in a secured non-public area.

  - 1 Fire extinguisher and 1 wet quench towels must be present.

  - No sources of ignitions may be present.

  - Fueling is only allowed just prior to preforming.  The fueled devices must then be stored in a secured location within a metal container with a closed lid until ignited for the performance.

  - Fuel containers must be stored and secured area away from any public or display area.

  - Slinging of excess flammables must be performed in a secured area away from the public and with the use of a plastic bag over the device to capture and recover the excess flammable liquid.  The excess fuel must be returned to storage and the plastic bag must be stored in a secured location within a metal container with a closed lid.