Construction Stormwater Pollution Prevention Plan Template

Federal, State, and local governments are required to follow and enforce provisions within the Clean Water Act. Lafayette Consolidated Government meets this requirement through the enforcement of a Code of Ordinances and the implementation of various measures outlined in the state-issued Municipal Separate Storm Sewer System (MS4) Permit.

Instructions for Using the SWPPP Template

Each section of the SWPPP Template includes instructions and space for your project and site information. To complete the sections with blue text, simply click and begin typing.

Note:

- Sites that disturb one acre or more, but less than five acres of land are automatically covered under LPDES permit LAR100000. That is, the operator does not need to apply for a permit, only prepare and use the SWPPP.

- Sites that disturb five acres or more require the preparation and submittal of an NOI to the Louisiana Department of Environmental Quality for permit coverage under LAR200000.

| LPDES General Permit Number | Permit is Applicable For: | Effective Date | Expiration Date | File Type |
| --- | --- | --- | --- | --- |
| LAR100000 | Storm Water Discharges from Construction Activities of 5 Acres or More | 10/1/2024 | 9/30/2029 | PDF |
| LAR200000 | Storm Water Discharges from Small Construction Activities (equal to or greater than 1 acre but less than 5 acres) | 8/25/2023 | 8/24/2028 | PDF |

This template is an adaptation of a template published by EPA. While we have made every effort to ensure the SWPPP Template is complete and accurate, it is the LPDES construction general permit, not the template, that determines the actual obligations of regulated construction stormwater discharges. In the event of a conflict between the SWPPP Template and any corresponding provision of the construction general permit, you must abide by the requirements in the permit.

LCG welcomes comments on the SWPPP Template at any time and will consider those comments in any future revision of this document. You may contact us at environmentalquality@lafayettela.gov to submit comments.

Stormwater Pollution Prevention Plan (SWPPP)

For Construction Activities At:

Insert Project/Site Name

Insert Project Site Location/Address

Insert City, State, Zip Code

Insert Project/Site Telephone Number

SWPPP Prepared For:

Insert Operator Company or Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

SWPPP Prepared By:

Insert Company or Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

SWPPP Preparation Date:

Insert Date

Estimated Project Dates:

Project Start Date:  Insert Date

Project Completion Date: Insert Date

Contents

SECTION 1: CONTACT INFORMATION/RESPONSIBLE PARTIES	5

1.1	Operator(s) / Subcontractor(s)	5

SECTION 2: SITE EVALUATION, ASSESSMENT, AND PLANNING	5

2.1	Project/Site Information	5

2.2	Discharge Information	6

2.3	Nature of the Construction Activities	6

2.4	Sequence and Estimated Dates of Construction Activities	7

2.5	Authorized Non-Stormwater Discharges	7

2.6	Site Maps	8

SECTION 3: DOCUMENTATION OF COMPLIANCE WITH OTHER FEDERAL REQUIREMENTS	9

3.1	Endangered Species Protection	9

3.2	Historic Property Designation	9

SECTION 4: EROSION AND SEDIMENT CONTROLS AND DEWATERING PRACTICES	9

4.1 Perimeter Controls	9

4.2	Sediment Track-Out	10

4.3	Stockpiles or Land Clearing Debris Piles Comprised of Sediment or Soil	10

4.4	Minimize Dust	10

4.5	Minimize Steep Slope Disturbances	11

4.6	Storm Drain Inlets	11

4.7	Dewatering Practices	12

4.8	Site Stabilization	12

SECTION 5: POTENTIAL SOURCES OF POLLUTION	13

5.1	Potential Sources of Pollution	13

5.2	Spill Prevention: Chemical Storage, Fueling and Maintenance of Equipment	14

5.3	Storage and Disposal of Construction Debris and Wastes	14

5.4	Washing of Applicators and Containers used for Stucco, Paint, Concrete, Form Release Oils, Cutting Compounds, or Other Materials	14

SECTION 6: INSPECTION, MAINTENANCE, AND CORRECTIVE ACTION	15

6.1	Inspection Personnel and Procedures	15

6.2	Corrective Action	16

6.3	Delegation of Authority	16

SECTION 8: CERTIFICATION AND NOTIFICATION	16

SWPPP APPENDICES	17

# SECTION 1: CONTACT INFORMATION/RESPONSIBLE PARTIES

## 1.1	Operator(s) / Subcontractor(s)

Operator(s):

Insert Company or Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

Insert area of control (if more than one operator at site)

[Repeat as necessary.]

Subcontractor(s):

Insert Company or Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

Insert area of control (if more than one operator at site)

[Repeat as necessary.]

Emergency 24-Hour Contact:

Insert Company or Organization Name

Insert Name

Insert Telephone Number

# SECTION 2: SITE EVALUATION, ASSESSMENT, AND PLANNING

## 2.1	Project/Site Information

| Project/Site Name: Insert Text Here |  |  |
| --- | --- | --- |
| Street/Location: Insert Text Here City: Insert Text Here |  |  |
| State: Insert Text Here ZIP Code: Insert Text Here |  |  |
| Project Latitude/Longitude (decimal degrees) |  |  |
| Latitude: __ __. __ __ __ __º N | Longitude: - __ __. __ __ __ __ º W |  |
| Latitude/longitude data source: ☐ Map ☐ GPS ☐ Other (please specify): _______________ |  |  |
| Additional Site Information |  |  |
| Is your site located on Indian country lands, or on a property of religious or cultural significance to an Indian Tribe? |  | ☐ Yes ☐ No |
| If yes, provide the name of the Indian Tribe associated with the area of Indian country (including the name of Indian reservation if applicable), or if not in Indian country, provide the name of the Indian Tribe associated with the property: Insert Text Here |  |  |

## 2.2	Discharge Information

Lafayette Parish has Municipal Separate Storm Sewer System (MS4) permits.

Identify the jurisdiction of your project to determine who the governing authority is for discharges to the municipal drainage system. Select all that apply.

☐ Lafayette Parish      ☐ City of Lafayette       ☐ City of Youngsville

☐ University of Louisiana at Lafayette         ☐ Lafayette Airport Commission

☐ Town of Duson      ☐ City of Scott

Note: MS4s include all ditches, roads, streets, catch basins, retention and detention ponds, curbs, gutters, natural and manmade channels and storm drains that are used to convey stormwater and discharge into the Waters of the State.

## 2.3	Nature of the Construction Activities

| Type of Construction Site (check all that apply): ☐ Single-Family Residential ☐ Multi-Family Residential ☐ Commercial ☐ Industrial ☐ Institutional ☐ Highway or Road ☐ Utility ☐ Demolition ☐ Other ____________________________ |  |  |
| --- | --- | --- |
| Size of Property (in acres) |  |
| Area Expected to be Disturbed by Construction Activities Including On-site & Off-site Construction Support Areas (in acres) |  |

## 2.4	Sequence and Estimated Dates of Construction Activities

Phase I

| Insert General Discription of Phase |  |
| --- | --- |
| Estimated Start Date of Construction Activities for this Phase | Insert Estimated Date |
| Estimated End Date of Construction Activities for this Phase | Insert Estimated Date |
| Estimated Date(s) of Application of Stabilization Measures for Areas of the Site Required to be Stabilized | Insert Estimated Date [Add additional dates as necessary] |
| Estimated Date(s) when Stormwater Controls will be Removed | Insert Estimated Date [Add additional dates as necessary] |

Phase II

| Insert General Discription of Phase |  |
| --- | --- |
| Estimated Start Date of Construction Activities for this Phase | Insert Estimated Date |
| Estimated End Date of Construction Activities for this Phase | Insert Estimated Date |
| Estimated Date(s) of Application of Stabilization Measures for Areas of the Site Required to be Stabilized | Insert Estimated Date [Add additional dates as necessary] |
| Estimated Date(s) when Stormwater Controls will be Removed | Insert Estimated Date [Add additional dates as necessary] |

Attach information on additional phases if needed.

## 2.5	Authorized Non-Stormwater Discharges

| Authorized Non-Stormwater Discharge | Will or May Occur at Your Site? |
| --- | --- |
| Discharges from emergency fire-fighting activities | ☐ Yes ☐ No |
| Fire hydrant flushings | ☐ Yes ☐ No |
| Landscape irrigation | ☐ Yes ☐ No |
| Water used to wash vehicles and equipment | ☐ Yes ☐ No |
| Water used to control dust | ☐ Yes ☐ No |
| Potable water including uncontaminated water line flushings | ☐ Yes ☐ No |
| External building washdown (soaps/solvents are not used and external surfaces do not contain hazardous substances) | ☐ Yes ☐ No |
| Pavement wash waters | ☐ Yes ☐ No |
| Uncontaminated air conditioning or compressor condensate | ☐ Yes ☐ No |
| Uncontaminated, non-turbid discharges of ground water or spring water | ☐ Yes ☐ No |
| Foundation or footing drains | ☐ Yes ☐ No |
| Uncontaminated construction dewatering water | ☐ Yes ☐ No |

## 2.6	Site Maps

Instructions

Attach site maps in Appendix A

- For most projects, a series of site maps is necessary and recommended to clearly show pre and post drainage patterns, infrastructure, etc.

These maps must include the following features:

Boundaries of the property and of the locations where construction will occur, including:

  - Locations where earth-disturbing activities will occur, noting any phasing of construction activities and any demolition activities;

  - Approximate slopes before and after major grading activities. Note any areas of slopes (including detention areas);

  - Locations where sediment, soil, or other construction materials will be stockpiled;

  - Locations of any crossings of receiving waters;

  - Designated points where vehicles will exit onto paved roads;

  - Locations of structures and other impervious surfaces upon completion of construction; and

  - Locations of on-site and off-site construction support activity areas covered by the permit.

Drainage patterns of stormwater and authorized non-stormwater before and after major grading activities must be shown.

Stormwater and authorized non-stormwater discharge locations, including:

  - Locations where stormwater and/or authorized non-stormwater will be discharged to storm drain inlets, including a notation of whether the inlet conveys stormwater to a sediment basin, sediment trap, or similarly effective control; and

  - Locations where stormwater or allowable non-stormwater will be discharged directly to receiving waters

# SECTION 3: DOCUMENTATION OF COMPLIANCE WITH OTHER FEDERAL REQUIREMENTS

## 3.1	Endangered Species Protection

- Include documentation supporting your determination on the presence of endangered species.

- For USFWS species information, use the on-line mapping tool IPaC

- (Information, Planning, and Consultation System)

- https://ipac.ecosphere.fws.gov/

- Or

- Download an updated list of Threatened and Endangered species by Parish in Louisiana https://www.fws.gov/project/louisiana-ecological-services-endangered-species

## 3.2	Historic Property Designation

- Include documentation supporting your determination.

- Search the National Register Database and/or the Interactive Map provided by the Louisiana Division of Historic Preservation. https://www.crt.state.la.us/cultural-development/historic-preservation/national-register/database/index

# SECTION 4: EROSION AND SEDIMENT CONTROLS AND DEWATERING PRACTICES

## 4.1 Perimeter Controls

Specific Perimeter Controls (perimeter of property boundaries & along perimeter of drainage channels)

| Insert name of perimeter control to be installed |  |
| --- | --- |
| Description: Insert description of perimeter control to be installed. Indicate specific controls that will be installed and made operational prior to earth disturbance. |  |
| Installation | Insert approximate date of installation |

| Insert name of perimeter control to be installed |  |
| --- | --- |
| Description: Insert description of perimeter control to be installed. Indicate specific controls that will be installed and made operational prior to earth disturbance. |  |
| Installation | Insert approximate date of installation |

[Repeat as needed for individual perimeter controls.]

## 4.2	Sediment Track-Out

Specific Track-Out Controls

| Insert name of track-out control to be installed |  |
| --- | --- |
| Description: Insert description of track-out control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the track-out control (Note: At a minimum, you must provide for maintenance that meets the following requirement “Where sediment has been tracked-out from your site onto paved roads, sidewalks, or other paved areas outside of your site, remove the deposited sediment by the end of the same business day in which the track-out occurs or by the end of the next business day if track-out occurs on a non-business day. Remove the track-out by sweeping, shoveling, or vacuuming these surfaces, or by using other similarly effective means of sediment removal. You are prohibited from hosing or sweeping tracked-out sediment into any constructed or natural site drainage feature, storm drain inlet, or receiving water.”) |

| Insert name of track-out control to be installed |  |
| --- | --- |
| Description: Insert description of track-out control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the track-out control |

[Repeat as needed for individual track-out controls.]

## 4.3	Stockpiles or Land Clearing Debris Piles Comprised of Sediment or Soil

Specific Stockpile Controls

| Insert name of stockpile control to be installed |  |
| --- | --- |
| Description: Insert description of stockpile control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the stockpile control (Note: At a minimum, you must comply with following requirement “You are prohibited from hosing down or sweeping soil or sediment accumulated on pavement or other impervious surfaces into any constructed or natural site drainage feature, storm drain inlet, or receiving water”) |

## 4.4	Minimize Dust

Specific Dust Controls

| Insert name of dust control to be installed |  |
| --- | --- |
| Description: Insert description of dust control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the dust control |

## 4.5	Minimize Steep Slope Disturbances

- Describe controls (e.g., erosion control blankets, revetment, etc.), that will be implemented to minimize sediment discharges from slope disturbances (including slopes of drainage channels and detention/retention ponds).

Specific Steep Slope Controls

| Insert name of steep slope control to be installed |  |
| --- | --- |
| Description: Insert description of steep slope control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the steep slope control |
| Design Specifications | Include copies of design specifications here |

| Insert name of steep slope control to be installed |  |
| --- | --- |
| Description: Insert description of steep slope control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the steep slope control |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual steep slope controls.]

## 4.6	Storm Drain Inlets

Note: Protection is needed for inlets draining into the detention/retention pond if the pond has an outfall connected to the MS4.

Specific Storm Drain Inlet Controls

| Insert name of storm drain inlet control to be installed |  |
| --- | --- |
| Description: Insert description of storm drain inlet control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the storm drain inlet control (Note: At a minimum, you must “Clean, or remove and replace, the inlet protection measures as sediment accumulates, the filter becomes clogged, and/or performance is compromised.”) |

| Insert name of storm drain inlet control to be installed |  |
| --- | --- |
| Description: Insert description of storm drain inlet control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the storm drain inlet control |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual storm drain inlet controls.]

## 4.7	Dewatering Practices

Instructions (see CGP Parts 2.4 and 7.2.6):

- If you will be discharging sediment-laden stormwater from ponds or other infrastructure, you must filter the water before discharging into the MS4. It is recommended to:

Construct a sediment basin on site so the water can settle before discharging.

Use well-vegetated, upland areas of the site to infiltrate dewatering water before discharging.

Specific Dewatering Practices

| Insert name of dewatering practice to be installed |  |
| --- | --- |
| Description: Insert description of dewatering practice to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the dewatering practice. |

[Repeat as needed for individual dewatering practices.]

## 4.8	Site Stabilization

Note: You are required to immediately initiate stabilization when work in an area of your site has permanently or temporarily stopped.

| Insert name of site stabilization practice |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☐ Temporary ☐ Permanent |  |
| Description: - Insert description of stabilization practice to be installed |  |
| Installation | Insert approximate date of installation |
| Completion | Insert approximate completion date |
| Maintenance Requirements | Insert maintenance requirements for the stabilization practice |

| Insert name of site stabilization practice |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☐ Temporary ☐ Permanent |  |
| Description: - Insert description of stabilization practice to be installed |  |
| Installation | Insert approximate date of installation |
| Completion | Insert approximate completion date |
| Maintenance Requirements | Insert maintenance requirements for the stabilization practice |

[Repeat as needed for additional stabilization practices.]

# SECTION 5: POTENTIAL SOURCES OF POLLUTION

## 5.1	Potential Sources of Pollution

Note: Indicate “yes” or “no” for each activity in the table below. These are normal construction activities that need Best Management Practices. While some materials may be natural (such as sediment) they become pollutants within the MS4.

| - Indicate - Yes or No | - Pollutant-Generating Activity | - Associated pollutants and/or pollution causes |
| --- | --- | --- |
|  | - Paving operations | - Potential run-off of dirt, lime, asphalt emulsion, etc.; equipment leaks, improper chemical storage, equipment washing into street, drains, channels can contaminate soil and water |
|  | - Concrete, mortar, stucco work, etc. | - Improper disposal of waste material; equipment washing into street, drains, channels can contaminate soil and water |
|  | - Construction materials/activities generating trash/debris | - Failure to contain debris OR failure to service bins can result in litter/debris leaving site and blocking drainage/roadways |
|  | - Dewatering of site (pumping stormwater, including pond) | - High levels of suspended solids in water, sediment clogs drainage infrastructure and harms water quality downstream |
|  | - Painting (interior and/or exterior) | - Improper disposal of waste material; equipment washing into street, drains, channels |
|  | - Fueling of equipment/ fuel & lubricant storage | - Tanks must be double-walled or have secondary containment; containers of chemicals must be stored properly (off the ground, under cover, labeled) |
|  | - Site clearing and grading | - Failure to provide water trucks and other BMPs causes erosion (dust) and sedimentation (mud causes unsafe roads, clogs drainage, pollutes water) |
|  | - Drainage infrastructure construction | - Eroded and suspended soils can enter MS4 due to lack of BMPs around ponds, and/or outfall pipes; failure to install BMPs and establish vegetative cover after pond construction and catch basin/inlets are installed |
|  | - Demolition of structures | - Failure to test structure for asbestos, lead, etc. can lead to pollution; structures must be tested before demo |
|  | - Utility installations | - Removal or damage to erosion control (BMPs, vegetative cover); need to pump sediment laden water; |
|  | - Hauling of materials (onto site and/or off-site) | - Failure to provide/use stabilized entrances, unsecured loads, and dust generation cause hazardous conditions; drivers may remove or damage perimeter erosion control |
|  | - Sanitary Facilities | - Failure to provide portable toilets OR placement of portable toilets on or adjacent to storm drains could result in unlawful discharge of human waste |

## 5.2	Spill Prevention: Chemical Storage, Fueling and Maintenance of Equipment

- Describe equipment/vehicle fueling and maintenance practices that will be implemented to eliminate the discharge of spilled or leaked chemicals (e.g., providing secondary containment (examples:  spill berms, dikes, spill containment pallets) and cover where appropriate, and/or having spill kits readily available.)

General

- Insert general description of how you will comply

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |

[Repeat as needed.]

## 5.3	Storage and Disposal of Construction Debris and Wastes

- You must complete and submit a Solid Waste Disposal Notification Form to certify that a licensed waste hauler will provide containment and disposal services.

General

Attach Solid Waste Disposal Notification Form and Indicate Name of Attachment Attachment A, Attachment B, etc.)

## 5.4	Washing of Applicators and Containers used for Stucco, Paint, Concrete, Form Release Oils, Cutting Compounds, or Other Materials

- Describe how you will contain and dispose of wash-water and wastewater resulting from the washing of construction-related materials.

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

# SECTION 6: INSPECTION, MAINTENANCE, AND CORRECTIVE ACTION

## 6.1	Inspection Personnel and Procedures

- Describe the procedures you will follow for maintaining your stormwater controls, conducting inspections, and, where necessary, taking corrective actions.

Site Inspection Schedule

Standard Frequency:

☐ Every 7 calendar days ☐ Every 14 calendar days and within 24 hours of either: - A storm event that produces 0.25 inches or more of rain within a 24-hour period (including when there are multiple, smaller storms that alone produce less than 0.25 inches but together produce 0.25 inches or more in 24 hours), or - A storm event that produces 0.25 inches or more of rain within a 24-hour period on the first day of a storm and continues to produce 0.25 inches or more of rain on subsequent days (you conduct an inspection within 24 hours of the first day of the storm and within 24 hours after the last day of the storm that produces 0.25 inches or more of rain (i.e., only two inspections would be required for such a storm event))

For stabilized areas on “linear construction sites” (as defined in Appendix A) ☐ Twice during first month, no more than 14 calendar days apart; then once more within 24 hours of a storm event that produces 0.25 inches or more of rain within a 24-hour period, or within 24 hours of a snowmelt discharge from a storm event that produces 3.25 inches or more of snow within a 24-hour period - Specify locations where stabilization steps have been completed - Insert date that they were completed (Note: It is likely that you will not be able to include this in your initial SWPPP. If you qualify for this reduction (see CGP Part 4.4.1), you will need to modify your SWPPP to include this information.)

Inspection Report Forms

Attach a copy of any inspection forms or use Appendix D of this SWPPP template

## 6.2	Corrective Action

Personnel Responsible for Corrective Actions

Insert names of personnel or types of personnel responsible for corrective actions

Corrective Action Logs

Attach ANY CORRECTIVE ACTION FORMS YOU WILL USE HERE OR IN APPENDIX E OF THIS SWPPP TEMPLATE

## 6.3	Delegation of Authority

Instructions:

Identify the individual(s) or positions within the company who have been delegated authority to sign inspection reports.

Attach a copy of the signed delegation of authority (see example in Appendix J of this SWPPP Template.)

Duly Authorized Representative(s) or Position(s):

Insert Company or Organization Name

Insert Name

Insert Position

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

# SECTION 8: CERTIFICATION AND NOTIFICATION

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I have no personal knowledge that the information submitted is other than true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

| Name: |  |  | Title: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Signature: |  |  |  |  | Date: |  |

# SWPPP APPENDICES

Attach the following documentation to the SWPPP:

Appendix A – Site Maps

Appendix B – Permits (if applicable)

Appendix C – NOI (provide a copy of the application and proof of payment)

Appendix D – Site Inspection Form

Appendix E – Corrective Action Log

Appendix F – SWPPP Amendment Log

Appendix G – Subcontractor Certifications/Agreements

Appendix H – Grading and Stabilization Activities Log

Appendix I – Training Documentation

Appendix J – Delegation of Authority

Appendix K – Endangered Species Documentation

Appendix L – Historic Preservation Documentation

Appendix A— attach site maps and label: Attachment A, B, C, etc. The instructions are copied below for your reference. Inadequate maps will delay the review and approval of your SWPPP.

Instructions

Attach site maps in Appendix A

- For most projects, a series of site maps is necessary and recommended to clearly show pre and post drainage patterns, infrastructure, etc.

These maps must include the following features:

Boundaries of the property and of the locations where construction will occur, including:

  - Locations where earth-disturbing activities will occur, noting any phasing of construction activities and any demolition activities;

  - Approximate slopes before and after major grading activities. Note any areas of slopes (including detention areas);

  - Locations where sediment, soil, or other construction materials will be stockpiled;

  - Locations of any crossings of receiving waters;

  - Designated points where vehicles will exit onto paved roads;

  - Locations of structures and other impervious surfaces upon completion of construction; and

  - Locations of on-site and off-site construction support activity areas covered by the permit.

Drainage patterns of stormwater and authorized non-stormwater before and after major grading activities must be shown.

Stormwater and authorized non-stormwater discharge locations, including:

  - Locations where stormwater and/or authorized non-stormwater will be discharged to storm drain inlets, including a notation of whether the inlet conveys stormwater to a sediment basin, sediment trap, or similarly effective control; and

  - Locations where stormwater or allowable non-stormwater will be discharged directly to receiving waters

Appendix B –Permits and Ordinance Information

LPDES Permits are linked for your reference

| LPDES General Permit Number | Permit is Applicable For: | Effective Date | Expiration Date | File Type |
| --- | --- | --- | --- | --- |
| LAR100000 | Storm Water Discharges from Construction Activities of 5 Acres or More | 10/1/2024 | 9/30/2029 | PDF |
| LAR200000 | Storm Water Discharges from Small Construction Activities (equal to or greater than 1 acre but less than 5 acres) | 8/25/2023 | 8/24/2028 | PDF |

Note:

All sites, regardless of size, are subject to stormwater pollution provisions in Lafayette Consolidated Government Code of Ordinance No. O-237-2007, § 2, 10-16-07.

Erosion control measures must be installed prior to the commencement of clearing and grading activities.

Violation of these provisions can result in an issuance of fines and/or a Cease and Desist Order.

- A copy of the stormwater ordinance can be found here: https://library.municode.com/la/lafayette_city-parish_consolidated_government/codes/code_of_ordinances?nodeId=PTIICOOR_CH34EN_ARTVST

Appendix C – Copy of NOI and Proof of payment

- If site is 5 acres or more, or part of a larger development, you must provide a copy of the NOI and proof of payment/submittal to LDEQ.

- A blank application (NOI) can be accessed here:

- https://deq.louisiana.gov/page/lpdes-water-permits

Appendix D –Site Inspection Forms

Appendix E – Copy of Corrective Action Log

Appendix F –SWPPP Amendment Log

Instructions:

Create a log here of changes and updates to the SWPPP. You may use the table below to track these modifications.

SWPPP modifications are required in the following circumstances:

  - Whenever new operators become active in construction activities on your site, or you make changes to your construction plans, stormwater controls, or other activities at your site that are no longer accurately reflected in your SWPPP (this includes changes made in response to corrective actions;

  - To reflect areas on your site map where operational control has been transferred (and the date of transfer) since initiating permit coverage;

  - If inspections or investigations determine that SWPPP modifications are necessary for compliance with this permit;

| No. | Description of the Amendment | Date of Amendment | Amendment Prepared by [Name(s) and Title] |
| --- | --- | --- | --- |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |

Appendix G –Subcontractor Certifications/Agreements

SUBCONTRACTOR CERTIFICATION

STORMWATER POLLUTION PREVENTION PLAN

Project Number:

Project Title:

Operator(s):

As a subcontractor, you are required to comply with the Stormwater Pollution Prevention Plan (SWPPP) for any work that you perform on-site. Any person or group who violates any condition of the SWPPP may be subject to substantial penalties or loss of contract. You are encouraged to advise each of your employees working on this project of the requirements of the SWPPP. A copy of the SWPPP is available for your review at the office trailer.

Each subcontractor engaged in activities at the construction site that could impact stormwater must be identified and sign the following certification statement:

I certify under the penalty of law that I have read and understand the terms and conditions of the SWPPP for the above designated project and agree to follow the practices described in the SWPPP.

This certification is hereby signed in reference to the above named project:

Company:

Address:

Telephone Number:

Type of construction service to be provided:

Signature:

Title:

Date:

Appendix H –Grading and Stabilization Activities Log

| Date Grading Activity Initiated | Description of Grading Activity | Description of Stabilization Measure and Location | Date Grading Activity Ceased (Indicate Temporary or Permanent) | Date When Stabilization Measures Initiated |
| --- | --- | --- | --- | --- |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |

Appendix J –Delegation of Authority Form

Delegation of Authority

I, _______________________ (name), hereby designate the person or specifically described position below to be a duly authorized representative for the purpose of overseeing compliance with environmental requirements, including the EPA’s Construction General Permit (CGP), at the ____________________________________ construction site. The designee is authorized to sign any reports, stormwater pollution prevention plans and all other documents required by the permit.

________________________________________ (name of person or position)

________________________________________ (company)

________________________________________ (address)

________________________________________ (city, State, zip)

________________________________________ (phone)

By signing this authorization, I confirm that I meet the requirements to make such a designation as set forth in Appendix G of EPA’s CGP, and that the designee above meets the definition of a “duly authorized representative” as set forth in Appendix G.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I have no personal knowledge that the information submitted is other than true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Name:

Company:

Title:

Signature:

Date: