## COL Monthly Permit Report
Permits Issued By Status
Permit Status | Permit Number | Permit Type | Permit Workclass | Parcel Number | Address | Issue Date | Valuation | Contact
Final | MEP-3509-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157506407003 | 1706 MADISON CT LOUISVILLE, CO 80027 | 2022-08-03 14:48 | 23829 | Perfect Temp Inc.
Description: Replace existing furnace and AC with new Mitsubishi Hyper heat outdoor unit and new Air handler for main part of the house with a separate head for the master bedroom.
| MEP-3867-2022 | MEP Single Trade | Minor Electrical | 157507420002 | 792 W PINYON WAY LOUISVILLE, CO 80027 | 2022-08-24 | 1500 | Amp'd Up Electric LLC
Description: car charger
| MEP-3886-2022 | MEP Single Trade | Minor Electrical | 157508224012 | 1378 CALEDONIA CIR LOUISVILLE, CO 80027 | 2022-08-01 | 3067 | Dutch Creek Electric
Description: 200 amp underground service upgrade
| MEP-3887-2022 | MEP Single Trade | Sewer/Water Repair | 157508125004 | 1124 LAFARGE AVE LOUISVILLE, CO 80027 | 2022-08-01 | 6500 | Trench Right
Description: 10' SEWER REPAIR IN THE BACKYARD AND INSTALL CLEAN OUTS
| MEP-3888-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518119020 | 630 W JUNIPER CT LOUISVILLE, CO 80027 | 2022-08-01 | 7416 | Cooper Heating & Cooling Inc
Description: install replacement 16 SEER 3 ton ac w/reconnect
| MEP-3890-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157506423006 | 2095 EISENHOWER DR LOUISVILLE, CO 80027 | 2022-08-01 | 10000 | Tipping Hat Plumbing, Heating and Electric
Description: replace 96% afue 80k btu furnace and 16 seer 4 ton AC
| MEP-3891-2022 | MEP Single Trade | Sewer/Water Repair | 157508451001 | 834 PARKVIEW ST LOUISVILLE, CO 80027 | 2022-08-02 | 3800 | Pipeline Solutions, LLC
Description: Excavate and replaced existing water line from the house to the meter in the front of the house in the private lawn up to 45'
| MEP-3894-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518337001 | 517 RIDGE VIEW DR LOUISVILLE, CO 80027 | 2022-08-02 | 12028 | Cooper Heating & Cooling Inc
Description: install replacement 80% 80k btu furnace and 17 SEER 2.5 ton ac w/reconnect
| MEP-3895-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157506420001 | 706 W BIRCH CT LOUISVILLE, CO 80027 | 2022-08-02 12:47 | 3700 | Welzig Heating & Air
Description: Replace existing a/c system with a new 3 ton, 16 SEER a/c system
| MEP-3900-2022 | MEP Single Trade | Minor Electrical | 157518112014 | 215 S TYLER AVE LOUISVILLE, CO 80027 | 2022-08-03 | 4500 | Promise Electric LLC
Description: Demo current electrical service panel and reinstall/upgrade meter housing and panel
| MEP-3905-2022 | MEP Single Trade | Minor Electrical | 157505325014 | 2195 CLIFFROSE LN LOUISVILLE, CO 80027 | 2022-08-03 15:44 | 3200 | Colorado Electric Company LLC
Description: Remove existing 100amp FPE Panel and damaged meter . Replace with new lever bypass meter and new 150amp panel
| MEP-3908-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508318059 | 220 W SYCAMORE LN LOUISVILLE, CO 80027 | 2022-08-05 14:19 | 4580 | Colorado Eco-Mechanical, LLC
Description: Replace water heater
| MEP-3917-2022 | MEP Single Trade | Sewer/Water Repair | 157518104030 | 264 S WASHINGTON AVE LOUISVILLE, CO 80027 | 2022-08-09 | 6722 | Dig Boss, LLC
Description: Spot repair on the water service line in the front yard.
| MEP-3926-2022 | MEP Single Trade | Minor Electrical | 157508109009 | 1011 HARPER ST LOUISVILLE, CO 80027 | 2022-08-10 | 8500 | Elevated Independent Energy
Description: Move existing meter/main from house to garage, install underground feeder to new house panel.
| MEP-3927-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157517303011 | 655 AUGUSTA DR LOUISVILLE, CO 80027 | 2022-08-11 | 2175 | Front Range Water Heater
Description: Replace 50 Gallon Bradford White Water Heater with a newer model 50 Gallon Bradford White Water. Install new expansion tank.
| MEP-3928-2022 | MEP Single Trade | Minor Electrical | 157508147001 | 1312 1/4 MAIN ST LOUISVILLE, CO 80027 | 2022-08-15 | 2500 | C&R Electrical Contractors Inc
Description: Install metered electrical service for irrigation and shelter Utility address is 1312.25 Jefferson Ave
| MEP-3930-2022 | MEP Single Trade | Minor Electrical | 157508211004 | 1089 ADAMS AVE LOUISVILLE, CO 80027 | 2022-08-11 | 1500 | AAA Electric Co., Inc.
Description: Replacing outlets and switches
| MEP-3932-2022 | MEP Single Trade | Sewer/Water Repair | 157508208001 | 298 CALEDONIA ST LOUISVILLE, CO 80027 | 2022-08-11 | 8800 | Trench Right
Description: 15' sewer line repair in the front yard and install cleanouts.
| MEP-3936-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518350017 | 730 COPPER LN UNIT 105 LOUISVILLE, CO 80027 | 2022-08-15 | 4448 | Precision Plumbing and Heating
Description: Replacing with a new Bradford White 40 Gallon Standard Water Heater
| MEP-3942-2022 | MEP Single Trade | Sewer/Water Repair | 157505328031 | 361 PHEASANT RUN LOUISVILLE, CO 80027 | 2022-08-16 | 500 | Planet Plumbing, Inc.
Description: (warranty work) repair failed section of sewer pipe
| MEP-3943-2022 | MEP Single Trade | Sewer/Water Repair | 157517211021 | 364 LILAC CIR LOUISVILLE, CO 80027 | 2022-08-16 | 6800 | Trench Right
Description: 8' SEWER REPAIR IN FRONT YARD AND INSTALL CLEANOUTS
| MEP-3944-2022 | MEP Single Trade | Sewer/Water Repair | 157507205003 | 1044 W WILLOW ST LOUISVILLE, CO 80027 | 2022-08-17 | 3450 | The Elite Pipe MD
Description: 10' long sewer service repairs in front yard install dual sweep clean outs
| MEP-3946-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518412003 | 733 ORCHARD DR LOUISVILLE, CO 80027 | 2022-08-25 | 7954 | Precision Plumbing and Heating
Description: Replaced Rheem 75 Gallon water heater by us with a new Bradford White 75 gallon natural gas water heater-MN- RG275H6N-475/ SERIAL - YD49629517 **UNDER WARRANTY***- ORIGIONAL INSTALL 05/27/2022
| MEP-3947-2022 | MEP Single Trade | Minor Electrical | 157508122012 | 1201 MAIN ST LOUISVILLE, CO 80027 | 2022-08-18 | 4083 | Dutch Creek Electric
Description: 150 amp overhead service upgrade
| MEP-3948-2022 | MEP Single Trade | Sewer/Water Repair | 157508210008 | 234 SHORT PL LOUISVILLE, CO 80027 | 2022-08-18 | 3500 | Odin Services
Description: 50' yard repair in front yard. Install dual sweep clean outs with sprinkler valve box covers.
| MEP-3951-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518101031 | 188 S CLEVELAND AVE LOUISVILLE, CO 80027 | 2022-08-18 | 4570 | Plumbline Services, LLC
Description: 50 GAL GAS 40K BTU WATER HEATER
| MEP-3958-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157507412001 | 327 GROUSE CT LOUISVILLE, CO 80027 | 2022-08-23 | 12000 | True Heating & Cooling
Description: Replacing furnace and a/c
| MEP-3959-2022 | MEP Single Trade | Sewer/Water Repair | 157508408004 | 912 LINCOLN AVE LOUISVILLE, CO 80027 | 2022-08-23 | 8795 | Planet Plumbing, Inc.
Description: This is an estimate to dig up the sewer lines, from the north side of house by AC unit and replace the bad sewer pipe. We will dig all the way to the edge of the asphalt driveway by the alley entrance. We will dig up where both sewer lines tie in together then install new two way clean outs on one line and a one way clean out on the other sewer line. We will not be responsible for any landscaping repairs at all and we will have to take out one or two bushes in the way. This sewer line replacement will be about 60 feet long. We will install all code approved pipe and bedding
| MEP-3969-2022 | MEP Single Trade | Minor Electrical | 157508318059 | 220 W SYCAMORE LN LOUISVILLE, CO 80027 | 2022-08-29 | 500 | Dimension Electric
Description: Run 30 Amp 220V Circuit for electric water heater, from Outdoor Main Electrical Panel "A" 1/2" Conduit, #10 Thhn, to Disconnect Switch Located in Basement utility Closet. 1/2 Flexible from Exterior LB to 4s Box
| MEP-3973-2022 | MEP Single Trade | Sewer/Water Repair | 157508436005 | 608 LAFARGE AVE LOUISVILLE, CO 80027 | 2022-08-30 14:36 | 800
Description: replacing sewer line
| MEP-3974-2022 | MEP Single Trade | Sewer/Water Repair | 157517105007 | 119 ALINE ST LOUISVILLE, CO 80027 | 2022-08-30 14:39 | 2300 | Sharks Excavation, LLC
Description: sewer repair
| MISC-9400-2022 | Minor | Fence | 157508317012 | 366 W ELM ST LOUISVILLE, CO 80027 | 2022-08-26 | 9259 | Clean Cut Fencing
Description: Removal of the existing fence and installing a new 6’ cedar privacy fence for the sidelines and an open 3 rail fence for the backline on property lines.
| MISC-9418-2022 | Minor | Fence | 157508201001 | 1612 GARFIELD AVE UNIT 1 LOUISVILLE, CO 80027 | 2022-08-01 | 10000
Description: New front and side fence
| MISC-9420-2022 | Minor | Fence | 157518240026 | 116 CRESTVIEW CT LOUISVILLE, CO 80027 | 2022-08-02 | 8000 | Da Vinci Construction and Design
Description: Replacement of the fence that was destroyed in the 2022 Marshall fire. Same location and same design as the Original fence.
| MISC-9423-2022 | Minor | Fence | 157507321039 | 985 ARAPAHOE CIR LOUISVILLE, CO 80027 | 2022-08-10 | 12000 | Metro Fence Company
Description: New 6' cedar privacy fence around perimeter of backyard.
| MISC-9428-2022 | Minor | Re-Roof | 157508129003 | 1140 LINCOLN AVE LOUISVILLE, CO 80027 | 2022-08-08 | 14850 | BCS Corp.
Description: - Remove asphalt roofing (33 Squares) - Do not remove/replace Thermoplastic Polyolefin roofing - Install new underlayment plus Ice and Water shield - Install new flashings to all roof protrusions - Install new dimensional asphalt shingles 33 Sq - Install new roof vents
| MISC-9430-2022 | Minor | Fence | 157508223018 | 498 W GRIFFITH ST LOUISVILLE, CO 80027 | 2022-08-11 | 9000 | Superior Fence & Rail of Denver, LLC
Description: installing 127 linear feet of 6'h residential black chain link and 126 linear feet of 6'h grey trex seclusions to include two 4' single swing gates in backyard of single family home
| MISC-9444-2022 | Minor | Re-Roof | 157518115009 | 262 S BUCHANAN CIR LOUISVILLE, CO 80027 | 2022-08-10 | 11874.43 | Friend and Associates Inc, dba Just Roof and Gutters
Description: Remove and replace 27 Squares Asphalt roof Owens Corning Duration Driftwood
| MISC-9446-2022 | Minor | Re-Roof | 157508201001 | 1612 GARFIELD AVE UNIT 1 LOUISVILLE, CO 80027 | 2022-08-15 | 11056 | Signature Services & Ach Fabrication
Description: Remove existing old shingles and replace with new shingles
| MISC-9448-2022 | Minor | Re-Roof | 157518103014 | 103 S WASHINGTON AVE LOUISVILLE, CO 80027 | 2022-08-15 | 18000 | Josh Vicars
Description: Remove existing roof system and replace
| MISC-9459-2022 | Minor | Fence | 157518112012 | 207 S TYLER AVE LOUISVILLE, CO 80027 | 2022-08-22 13:49 | 3700
Description: Replacing section of fence
| RES-1624-2022 | Residential | Remodel | 157507120034 | 698 W SAGEBRUSH DR LOUISVILLE, CO 80027 | 2022-08-02 | 7000 | Servpro Construction Services
Description: Insulation remove and replace.
| RES-2588-2022 | Residential | Remodel | 157507411018 | 341 BUCHANAN CT LOUISVILLE, CO 80027 | 2022-08-04 | 1300 | Paul Davis of Greater Denver
Description: Replace attic insulation contaminated by Marshall Fires
| RES-2668-2022 | Residential | Remodel | 157508315027 | 131 W ELM ST LOUISVILLE, CO 80027 | 2022-08-02 | 3098.4 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2669-2022 | Residential | Remodel | 157508225006 | 1393 CALEDONIA CIR LOUISVILLE, CO 80027 | 2022-08-02 | 3003.75 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2670-2022 | Residential | Remodel | 157517211014 | 295 S HOOVER AVE LOUISVILLE, CO 80027 | 2022-08-01 | 3113 | NetZero Insulation
Description: Remove/ Replace attic insulation due to Marshall Fire
| RES-2674-2022 | Residential | Remodel | 157507120012 | 640 W SAGEBRUSH DR LOUISVILLE, CO 80027 | 2022-08-01 | 3704 | NetZero Insulation
Description: Remove/ Replace attic insulation due to Marshall Fire
| RES-2677-2022 | Residential | Remodel | 157507423022 | 533 WILDROSE CT LOUISVILLE, CO 80027 | 2022-08-03 | 12620 | Eco Handyman
Description: Insulation removal & replacement due to Marshall Fires
| RES-2684-2022 | Residential | Remodel | 157517104010 | 108 ALINE ST LOUISVILLE, CO 80027 | 2022-08-03 11:12 | 4238.4 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2689-2022 | Residential | Remodel | 157518121007 | 314 S TAFT CT UNIT 84 LOUISVILLE, CO 80027 | 2022-08-08 | 1000 | Yellow Wood Inc DBA Koala Insulation of Boulder
Description: Insulation removal/ reinstall
| RES-2691-2022 | Residential | Remodel | 157507412011 | 560 W SYCAMORE ST LOUISVILLE, CO 80027 | 2022-08-08 | 1967.4 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2692-2022 | Residential | Remodel | 157507424024 | 682 WILDROSE WAY LOUISVILLE, CO 80027 | 2022-08-08 | 2507 | NetZero Insulation
Description: Remove/ Replace attic insulation from Marshall Fire
| RES-2693-2022 | Residential | Remodel | 157507418006 | 498 GROUSE CT LOUISVILLE, CO 80027 | 2022-08-08 | 2638.8 | Bestway Insulation, LLC
Description: Marshall Fire Replace attic Insulation with cellulose product # INS515LD
| RES-2699-2022 | Residential | Remodel | 157507410031 | 659 OWL DR LOUISVILLE, CO 80027 | 2022-08-09 | 3203 | NetZero Insulation
Description: Remove/ Replace attic insulation due to Marshall fire
| RES-2700-2022 | Residential | Remodel | 157508479009 | 701 WEST ST LOUISVILLE, CO 80027 | 2022-08-09 | 3199 | NetZero Insulation
Description: Remove/ Replace attic insulation from Marshall Fire
| RES-2701-2022 | Residential | Remodel | 157518102001 | 100 S POLK AVE LOUISVILLE, CO 80027 | 2022-08-09 | 4376 | NetZero Insulation
Description: Remove/ Replace attic insulation from Marshall Fire
| RES-2702-2022 | Residential | Remodel | 157507304007 | 1068 MEADOW CT LOUISVILLE, CO 80027 | 2022-08-12 14:38 | 17000
Description: Remove and dispose of existing insulation and replace with cell spray foam at 7".
| RES-2704-2022 | Residential | Remodel | 157518404023 | 530 FAIRFIELD LN LOUISVILLE, CO 80027 | 2022-08-10 | 4907 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product# INS515LD
| RES-2705-2022 | Residential | Remodel | 157508211004 | 1089 ADAMS AVE LOUISVILLE, CO 80027 | 2022-08-16 | 3518 | Bestway Insulation, LLC
Description: Marshall Fire Replace attic Insulation with cellulose product # INS515LD
| RES-2706-2022 | Residential | Remodel | 157507320014 | 815 FLATIRONS CT LOUISVILLE, CO 80027 | 2022-08-10 | 4187.1 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2707-2022 | Residential | Remodel | 157507432073 | 575 SPRUCE CIR LOUISVILLE, CO 80027 | 2022-08-12 12:57 | 2669.8 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2709-2022 | Residential | Remodel | 157518115008 | 268 S BUCHANAN CIR LOUISVILLE, CO 80027 | 2022-08-10 | 4743.84 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with Cellulose product #INSS15LD
| RES-2720-2022 | Residential | Remodel | 157518405008 | 581 N MANORWOOD LN LOUISVILLE, CO 80027 | 2022-08-18 | 6162 | Bestway Insulation, LLC
Description: Marshall Fire Replace attic insulation with cellulose Product #INSS15LD
| RES-2732-2022 | Residential | Remodel | 157518103018 | 141 S WASHINGTON AVE LOUISVILLE, CO 80027 | 2022-08-18 | 3192 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation With Cellulose Product #INSS15LD
| RES-2734-2022 | Residential | Remodel | 157508430002 | 725 LINCOLN AVE LOUISVILLE, CO 80027 | 2022-08-18 | 6394.1 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation With Cellulose Product #INSS15LD
| RES-2735-2022 | Residential | Remodel | 157507105006 | 1407 TAFT PL LOUISVILLE, CO 80027 | 2022-08-17 | 5142.6 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation With Cellulose Product #INSS15LD
| RES-2737-2022 | Residential | Remodel | 157517211016 | 396 LILAC CIR LOUISVILLE, CO 80027 | 2022-08-19 09:44 | 3422 | NetZero Insulation
Description: Remove/ Replace attic insulation due to Marshall Fire
| RES-2739-2022 | Residential | Remodel | 157518234018 | 890 S PALISADE CT LOUISVILLE, CO 80027 | 2022-08-18 | 3693.75 | REenergizeCO
Description: Remove and replace attic insulation that was damaged by the Marshall Fire
| RES-2740-2022 | Residential | Remodel | 157508404001 | 936 LAFARGE AVE LOUISVILLE, CO 80027 | 2022-08-18 | 4237.3 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2741-2022 | Residential | Remodel | 157518403022 | 651 FAIRFIELD LN LOUISVILLE, CO 80027 | 2022-08-18 | 6270.4 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2742-2022 | Residential | Remodel | 157507127003 | 692 TAMARISK CT LOUISVILLE, CO 80027 | 2022-08-18 | 4198.8 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2743-2022 | Residential | Remodel | 157518408005 | 554 N MANORWOOD LN LOUISVILLE, CO 80027 | 2022-08-18 | 4418.21 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2745-2022 | Residential | Remodel | 157518103009 | 673 W MULBERRY ST LOUISVILLE, CO 80027 | 2022-08-18 | 1850 | Northbuilt Construction, LLC
Description: Attic insulation replacement
| RES-2746-2022 | Residential | Remodel | 157508317002 | 226 W ELM ST LOUISVILLE, CO 80027 | 2022-08-22 | 2185.38 | Artigiano Construction INC
Description: Remove existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire insulation replacement
| RES-2750-2022 | Residential | Remodel | 157517119014 | 450 LILAC CT LOUISVILLE, CO 80027 | 2022-08-19 | 9800 | Simple Home Energy Solutions
Description: Attic insulation removal and replacement
| RES-2757-2022 | Residential | Remodel | 157507119006 | 697 W SAGEBRUSH DR LOUISVILLE, CO 80027 | 2022-08-23 | 5000 | Restoration 1 of West Denver
Description: Smoke remediation and attic insulation removal and replacement from Marshall Fire
| RES-2757-2022 | Residential | Remodel | 157507119006 | 697 W SAGEBRUSH DR LOUISVILLE, CO 80027 | 2022-08-23 | 5000 | Matthew Davidson
Description: Smoke remediation and attic insulation removal and replacement from Marshall Fire
| RES-2763-2022 | Residential | Remodel | 157508318035 | 484 W SYCAMORE CT LOUISVILLE, CO 80027 | 2022-08-25 | 1575.6 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2764-2022 | Residential | Remodel | 157517119001 | 508 DAHLIA WAY LOUISVILLE, CO 80027 | 2022-08-25 | 2266 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2771-2022 | Residential | Remodel | 157507432021 | 809 OWL DR LOUISVILLE, CO 80027 | 2022-08-26 | 5082.8 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2785-2022 | Residential | Remodel | 157518119011 | 636 W ASPEN CT LOUISVILLE, CO 80027 | 2022-08-31 | 4262.6 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product #INS515LD R-21 in 100sq ft wall
| TEMP-0143-2022 | Temporary Use | Construction Trailer | 157713011004 | 1450 INFINITE DR LOUISVILLE, CO 80027 | 2022-08-17 | 1000
Description: Construction trailer for management offices shall be onsite for a total of one year (8/1/2023) for the construction of COM-0573-2022 permitted scope.
Issued | COM-0551-2022 | Commercial | New Building with Tenant | 157516043003 | 1340 S 96TH ST LOUISVILLE, CO 80027 | 2022-08-08 | 1705200 | Aslan Corporation
Description: Single-story, 4,259 square feet, 6-bay automatic and self-serve car wash
| COM-0551-2022 | Commercial | New Building with Tenant | 157516043003 | 1340 S 96TH ST LOUISVILLE, CO 80027 | 2022-08-08 | 1705200 | Aslan corporation
Description: Single-story, 4,259 square feet, 6-bay automatic and self-serve car wash
| COM-0573-2022 | Commercial | Tenant Finish or Minor Commercial Work | 157713011004 | 1450 INFINITE DR LOUISVILLE, CO 80027 | 2022-08-04 | 9375000 | Haselden Construction
Description: Renovation of core shell areas in preparation for new tenant finish renovations to be submitted under separate permit. Renovate building corridors, add skylights, and renovate core spaces: lobby, shared conference, restrooms, and fitness areas as indicated on drawings.
| COM-0598-2022 | Commercial | Tenant Finish or Minor Commercial Work | 157505408007 | 535 E SOUTH BOULDER RD LOUISVILLE, CO 80027 | 2022-08-09 | 35000 | Cooper Building Group
Description: TENANT FINISH TO UNIT UNIT 535 TO CREATE A YOGA STUDIO
| COM-0609-2022 | Commercial | Tenant Finish or Minor Commercial Work | 157508100001 | 1160 E SOUTH BOULDER RD LOUISVILLE, CO 80027 | 2022-08-30 14:18 | 9400 | Vortex Doors
Description: Replace east side wood doors wiith metal clad entry doors
| COM-0616-2022 | Commercial | Tenant Finish or Minor Commercial Work | 157505474003 | 765 E SOUTH BOULDER RD STE 300 LOUISVILLE, CO 80027 | 2022-08-10 | 13000 | Wood Brothers Homes, LLC
Description: Minor electrical work Build Knee wall and add drain to wall
| COM-0620-2022 | Commercial | Tenant Finish or Minor Commercial Work | 157520001001 | 1078 S 88TH ST UNIT 101 LOUISVILLE, CO 80027 | 2022-08-18 | 200000 | Midwest CCM
Description: Insulation removal and replace from marshal fire
| MEP-3650-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518263003 | 191 S MCCASLIN BLVD LOUISVILLE, CO 80027 | 2022-08-25 | 12500 | Energy Services of Colorado
Description: Remove and replace 6 RTUs, 1 entry heater and 3 exhaust fans
| MEP-3812-2022 | MEP Single Trade | Solar PV System | 157507432097 | 703 PINE NEEDLE LN LOUISVILLE, CO 80027 | 2022-08-02 | 23000 | Modern Electric LLC
Description: 7.2kW rooftop solar
| MEP-3848-2022 | MEP Single Trade | Solar PV System | 157508122012 | 1201 MAIN ST LOUISVILLE, CO 80027 | 2022-08-25 | 9234 | Sunrun Installation Services Inc
Description: Roof Mount, Flush Mount, Grid-Tied 4.8 kW PV Solar
| MEP-3853-2022 | MEP Single Trade | Minor Electrical | 157518309003 | 855 W DILLON RD UNIT F201 LOUISVILLE, CO 80027 | 2022-08-04 | 850 | LionHeart Electrical LLC
Description: Move switches in kitchen
| MEP-3854-2022 | MEP Single Trade | Minor Electrical | 157518309003 | 855 W DILLON RD UNIT J306 LOUISVILLE, CO 80027 | 2022-08-04 | 850 | LionHeart Electrical LLC
Description: Move kitchen outlet's
| MEP-3855-2022 | MEP Single Trade | Minor Electrical | 157518309003 | 855 W DILLON RD UNIT I101 LOUISVILLE, CO 80027 | 2022-08-04 | 850 | LionHeart Electrical LLC
Description: Move switches in kitchen.
| MEP-3863-2022 | MEP Single Trade | Solar PV System | 157508428003 | 728 GRANT AVE LOUISVILLE, CO 80027 | 2022-08-31 | 29354 | Freedom Solar Power
Description: Installation of a 6.80kW dc flush roof mounted PV solar system
| MEP-3872-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518231014 | 329 S LARK AVE LOUISVILLE, CO 80027 | 2022-08-08 | 6000 | Colorado Eco-Mechanical, LLC
Description: Remove Existing Gas Water Heater Install 50 Gallon Hybrid Heat Pump Water Heater
| MEP-3877-2022 | MEP Single Trade | Solar PV System | 157517301064 | 250 FAIRFIELD LN LOUISVILLE, CO 80027 | 2022-08-15 | 21546 | Sunrun
Description: Roof Mount, Flush Mount,Grid-Tied 11.3 kW PV Solar
| MEP-3879-2022 | MEP Single Trade | Solar PV System | 157517105006 | 115 ALINE ST LOUISVILLE, CO 80027 | 2022-08-18 | 39685 | Freedom Solar Power
Description: Installation of 9.78kW dc flush roof mounted PV solar energy system
| MEP-3882-2022 | MEP Single Trade | Minor Electrical |  | 528 1/4 SOUTH BOULDER RD LOUISVILLE, CO 80027 | 2022-08-15 | 500 | Lighthouse Transportation Group
Description: This work is for the fictitious address of 528 1/4 South Boulder Road. Work being done is a meter pedestal for a new traffic signal at South Boulder Rd & Eisenhower
| MEP-3883-2022 | MEP Single Trade | Solar PV System | 157507303003 | 1150 GROVE CT LOUISVILLE, CO 80027 | 2022-08-31 | 15300 | Observatory Hometech, DBA Suntalk Solar
Description: install grid tied 6.8kW solar PV system. flush roof mounted
| MEP-3893-2022 | MEP Single Trade | Minor Plumbing | 157518240028 | 120 CRESTVIEW CT LOUISVILLE, CO 80027 | 2022-08-02 | 1000 | Da Vinci Construction and Design
Description: Adding underground gas line for outdoor bbq
| MEP-3896-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157516001018 | 340 S TAYLOR AVE LOUISVILLE, CO 80027 | 2022-08-16 | 65000 | OMS Inc.
Description: Add Ductless split AC to building 7 indoor air handlers from 1 Bank of condensers outdoors.
| MEP-3896-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157516001018 | 340 S TAYLOR AVE LOUISVILLE, CO 80027 | 2022-08-16 | 65000 | OMS Inc.
Description: Add Ductless split AC to building 7 indoor air handlers from 1 Bank of condensers outdoors.
| MEP-3897-2022 | MEP Single Trade | Gas Line/Meter | 157518119013 | 647 W JUNIPER CT LOUISVILLE, CO 80027 | 2022-08-04 | 1250
Description: This permit is to install a new fireplace. We have already received a permit for the gas line and here is a reference to that permit. #MEP-3860-2022
| MEP-3898-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518331002 | 563 RIDGE VIEW DR LOUISVILLE, CO 80027 | 2022-08-03 | 10125 | IMS Heating and Air
Description: Remove existing equipment and install 16 seer 2 ton air conditioner and condenser. Remove and replace 96% 70000BTU furnace.
| MEP-3899-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518116015 | 665 W JUNIPER CT LOUISVILLE, CO 80027 | 2022-08-09 | 22916 | Precision Plumbing and Heating
Description: Replacing with a new Lennox single stage 96% 88K BTU Furnace and a Lennox 2.5 Ton 14 SEER AC Unit
| MEP-3901-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518105019 | 194 S MADISON AVE LOUISVILLE, CO 80027 | 2022-08-03 | 18241 | Save Home Heat Company
Description: Replace Furnace 70,000 BTU 96% AFUE & AC 20 SEER 3 TON unit. Replace 50 Gallon 40,000 BTU Water Heater - like for like. Install new steam humidifier.
| MEP-3902-2022 | MEP Single Trade | Minor Mechanical | 157519110018 | 839 SPYGLASS CIR LOUISVILLE, CO 80027 | 2022-08-08 | 5000 | Fireplace and Grill Experts
Description: Remove an existing DV gas fireplace, set and vent a new DV gas fireplace. Hook up to the existing gas line and existing electrical
| MEP-3903-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518353008 | 780 COPPER LN UNIT 201 LOUISVILLE, CO 80027 | 2022-08-03 14:15 | 7158 | Cooper Heating & Cooling Inc
Description: install replacement 16 SEER 1.5 ton ac w/reconnect
| MEP-3906-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157505315012 | 1888 REGAL CT LOUISVILLE, CO 80027 | 2022-08-05 12:23 | 3500 | Boulder County Housing Authority
Description: Installing 96 percent efficient furnace and a 2.5 ton AC unit.
| MEP-3907-2022 | MEP Single Trade | Solar PV System | 157518335001 | 539 RIDGE VIEW DR LOUISVILLE, CO 80027 | 2022-08-08 | 8464.5 | Sunrun Installation Services Inc
Description: Flush Mount, Roof Mount, Grid-Tied 4.4 kW, PV Solar
| MEP-3911-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508404002 | 928 LAFARGE AVE LOUISVILLE, CO 80027 | 2022-08-08 | 5800 | Around The Clog, LLC
Description: Install on demand water heater
| MEP-3912-2022 | MEP Single Trade | Minor Electrical | 157505305012 | 229 VULCAN ST LOUISVILLE, CO 80027 | 2022-08-08 | 700
Description:
| MEP-3913-2022 | MEP Single Trade | Gas Line/Meter | 157518120002 | 676 W JUNIPER CT LOUISVILLE, CO 80027 | 2022-08-10 | 1315 | The Gas Connection
Description: Installation of exposed gas line on house from meter to range location
| MEP-3914-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157507118014 | 587 W SAGEBRUSH CT LOUISVILLE, CO 80027 | 2022-08-08 | 7214 | Save Home Heat Company
Description: Replace AC unit like for like 16 SEER 3 1/2 TON Unit.
| MEP-3918-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508109003 | 1117 HARPER ST LOUISVILLE, CO 80027 | 2022-08-09 | 12060 | Meyers Heating & AC Inc.
Description: Installation of central AC
| MEP-3920-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157505329032 | 129 PHEASANT RUN LOUISVILLE, CO 80027 | 2022-08-09 | 6056 | Carroll Mechanical Services
Description: REPALACE FURNACE 95% WITH ECM MOTOR
| MEP-3922-2022 | MEP Single Trade | Solar PV System | 157506406004 | 627 W HAWTHORN ST LOUISVILLE, CO 80027 | 2022-08-31 | 3248 | Blue Raven Solar
Description: INSTALLATION OF UTILITY INTERACTIVE PHOTOVOLTAIC SOLAR SYSTEM AND ANY NECESSARY ADDITIONAL WORK NEEDED FOR INSTALLATION.
| MEP-3923-2022 | MEP Single Trade | Gas Line/Meter | 157508223018 | 498 W GRIFFITH ST LOUISVILLE, CO 80027 | 2022-08-10 | 1355 | The Gas Connection
Description: Installation of underground gas line from meter to fire pit location
| MEP-3924-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157517104012 | 110 ALINE ST LOUISVILLE, CO 80027 | 2022-08-10 | 5590 | Applewood Plumbing Heating and Electric
Description: Replace water heater with 40 gallon, 40k BTU unit.
| MEP-3933-2022 | MEP Single Trade | Minor Electrical | 157508471007 | 651 MEAD CT LOUISVILLE, CO 80027 | 2022-08-11 | 3926.5 | Doctor Fix It
Description: 200 AMP SERVICE CHANGE
| MEP-3934-2022 | MEP Single Trade | Hot Tub | 157507320020 | 808 PIKES PEAK CT LOUISVILLE, CO 80027 | 2022-08-22 | 9950
Description: 393 Gallon Sundance 780 Hamilton Series hot tub
| MEP-3935-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508417005 | 820 MAIN ST STE 2 LOUISVILLE, CO 80027 | 2022-08-12 13:04 | 12180 | Meyers Heating & AC Inc.
Description: Replacement of furnace and AC
| MEP-3937-2022 | MEP Single Trade | Minor Electrical | 157507203033 | 826 W LINDEN ST LOUISVILLE, CO 80027 | 2022-08-18 09:13 | 690
Description: Upgrade main panel from 150A to 200A
| MEP-3939-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518414009 | 736 APPLE CT LOUISVILLE, CO 80027 | 2022-08-15 | 4978 | Save Home Heat Company
Description: Install new mini split system 1-1 unit.
| MEP-3940-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157505320005 | 479 EISENHOWER DR LOUISVILLE, CO 80027 | 2022-08-15 | 15967 | Plumbline Services
Description: 16 SEER 3 TON AC, 96% 80K BTU FURNACE, RECONNECT + GFCI
| MEP-3952-2022 | MEP Single Trade | Gas Line/Meter | 157508128007 | 1116 GRANT AVE LOUISVILLE, CO 80027 | 2022-08-24 | 3418
Description: Construction of an outdoor gas fireplace on our existing concrete patio in our backyard
| MEP-3953-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157517203008 | 135 LOIS DR LOUISVILLE, CO 80027 | 2022-08-25 | 23443.5 | Precision Plumbing and Heating
Description: Replacing with a new Lennox 2 Stage variable speed 96% Furnace and a new Lennox 14 SEER 2 Ton AC unit
| MEP-3956-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157504083012 | 2270 GOLDEN EAGLE WAY UNIT C LOUISVILLE, CO 80027 | 2022-08-22 | 24055 | Swan Heating and Air Denver
Description: REPLACE FURNACE AND AC W/ 96% 70K FURNACE 3 TON 20 SEER A/C SYSTEM
| MEP-3957-2022 | MEP Single Trade | Sewer/Water Repair | 157508426007 | 729 LAFARGE AVE LOUISVILLE, CO 80027 | 2022-08-22 | 2000 | Professional Sewer Excavation
Description: Excavate and repair up ft of sewer service line to include dual sweep cleanouts(out of service)
| MEP-3960-2022 | MEP Single Trade | Sewer/Water Repair | 157508317037 | 245 W SYCAMORE LN LOUISVILLE, CO 80027 | 2022-08-23 | 5000 | Louisville Master Plumbing, LLC
Description: Excavation to repair section of building sewer and install bi-directional cleanouts
| MEP-3961-2022 | MEP Single Trade | Gas Line/Meter | 157505304008 | 2228 EVANS CIR LOUISVILLE, CO 80027 | 2022-08-26 15:04 | 2345 | The Gas Connection
Description: Installation of upsized underground gas line from meter to fire pit location
| MEP-3963-2022 | MEP Single Trade | Sewer/Water Repair | 157508211028 | 344 SOUTH PL LOUISVILLE, CO 80027 | 2022-08-24 | 5200 | Trench Right
Description: 8' SEWER LINE REPAIR IN THE FRONT YARD AND INSTALL CLEANOUTS
| MEP-3966-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157712405019 | 1154 W ENCLAVE CIR LOUISVILLE, CO 80027 | 2022-08-25 | 17721 | Wheeler's Plumbing Heating and Cooling Corp
Description: Replace existing furnace and ac with 112,000 btu 2-stage 96% efficient furnace and ac with 5 ton 17 seer 2-stage ac.
| MEP-3967-2022 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157517301098 | 103 FAIRFIELD LN LOUISVILLE, CO 80027 | 2022-08-26 10:13 | 3191 | Plumbline Services
Description: 50 GAL GAS 40K BTU WATER HEATER
| MEP-3971-2022 | MEP Single Trade | Minor Electrical | 157518248001 | 282 S MCCASLIN BLVD LOUISVILLE, CO 80027 | 2022-08-30 | 6000 | Tharp Electrical
Description: Changing receptacles and switches from Ivory to white and swapping existing light fixtures for new ones
| MISC-9320-2022 | Minor | Deck or Pergola | 157518113021 | 771 W DAHLIA ST LOUISVILLE, CO 80027 | 2022-08-01 | 8000 | Cardinal Carpentry
Description: Building new deck off of exiting ledger and 4x6 posts.
| MISC-9329-2022 | Minor | Sign | 157713006003 | 168 CENTENNIAL PKWY LOUISVILLE, CO 80027 | 2022-08-26 | 3000 | Admiral Sign Co
Description: Installation of flush mount illuminated channel letters
| MISC-9368-2022 | Minor | Accessory Structure | 157505404004 | 606 SUNNYSIDE ST LOUISVILLE, CO 80027 | 2022-08-12 08:59 | 40000
Description: Installing a 10'8" x 18' greenhouse in our backyard on a monolithic concrete slab with water, electric, and gas hookups.
| MISC-9379-2022 | Minor | Patio Cover or Carport | 157508205018 | 1309 JACKSON CT LOUISVILLE, CO 80027 | 2022-08-12 08:58 | 3000 | Mountain View Corporation, LLC
Description: We would like to have piers and rebar inspected for a front concrete patio. A separate permit will be applied for the cover pending completion of a survey. Max height is 24"
| MISC-9389-2022 | Minor | Deck or Pergola | 157507434001 | 730 NIGHTHAWK CIR LOUISVILLE, CO 80027 | 2022-08-29 | 11000 | AG Deck & Fence Masters
Description: Replace existing deck to exact dimensions of current deck
| MISC-9391-2022 | Minor | Deck or Pergola | 157507212026 | 1188 GROVE CT LOUISVILLE, CO 80027 | 2022-08-04 | 35000 | Barefoot Decks
Description: Remove Existing wood Free Standing Deck and Add new Composite Deck - Slightly smaller Footprint
| MISC-9398-2022 | Minor | Accessory Structure | 157508450002 | 929 PARKVIEW ST LOUISVILLE, CO 80027 | 2022-08-22 | 150000
Description: Three car garage with living space
| MISC-9403-2022 | Minor | Deck or Pergola | 157517304011 | 597 AUGUSTA LN LOUISVILLE, CO 80027 | 2022-08-25 | 48500 | Style Wise Construction
Description: Remove existing deck. Build new deck with 2nd level deck above.
| MISC-9417-2022 | Minor | Sign | 157508144001 | 1110 E SOUTH BOULDER RD LOUISVILLE, CO 80027 | 2022-08-04 | 13800 | Freeman Signs Inc
Description: installation of (1) s/f illuminated wall sign with electrical hookup
| MISC-9422-2022 | Minor | Sign | 157505408007 | 551 E SOUTH BOULDER RD LOUISVILLE, CO 80027 | 2022-08-02 | 1500 | S2 Signs
Description: Wall-mounted cabinet
| MISC-9424-2022 | Minor | Retaining Wall | 157519109011 | 818 SPYGLASS CIR LOUISVILLE, CO 80027 | 2022-08-17 | 138000 | R&S Retaining walls Specialist
Description: Install Allan Ashlar Block retaining walls where there old timber walls were located, per engineering by Nelson Design.
| MISC-9432-2022 | Minor | Demolition - Interior Only | 157505408007 | 577 E SOUTH BOULDER RD LOUISVILLE, CO 80027 | 2022-08-04 | 4500 | Milo Construction
Description: The demolition of 577 E. South Boulder Road comprises of the following: Interior partitions, interior doors, bar cabinets, service counter, floor finishes, existing pluming fixtures, existing Type I hood.
| MISC-9435-2022 | Minor | Demolition - (Marshall Fire 2021) Whole Structure | 157519106021 | 977 ST ANDREWS LN LOUISVILLE, CO 80027 | 2022-08-02 11:36 | 25000 | Vancara Builders
Description: Demolition and removal of all debris material, including foundation concrete and driveway, along with any affected landscaping. The lot is to be scraped and debris exported to designated dump site in Erie, CO.
| MISC-9436-2022 | Minor | Demolition - Interior Only | 157507322005 | 851 TRAIL RIDGE DR LOUISVILLE, CO 80027 | 2022-08-12 12:55 | 30000 | Restoration 1
Description: Demo for smoke remediation and electrical disconnect
| MISC-9438-2022 | Minor | Sign | 157518343006 | 578 S MCCASLIN BLVD LOUISVILLE, CO 80027 | 2022-08-23 | 13000 | JRowe, PM, LLC
Description: Remove 3 existing channel letter signs and install 3 new channel letter signs.
| MISC-9439-2022 | Minor | Re-Roof | 157519106019 | 352 TROON CT LOUISVILLE, CO 80027 | 2022-08-03 14:44 | 15400 | Power Points LLC
Description: REMOVE ALL EXISTING LAYERS. INSTALL CERTAINTEED LANDMARK TL SHINGLES PER CODES.
| MISC-9440-2022 | Minor | Demolition - (Marshall Fire 2021) Whole Structure | 157518202003 | 1124 HILLSIDE LN LOUISVILLE, CO 80027 | 2022-08-05 10:09 | 23900 | Vancara Builders
Description: Demolition and removal of all debris material, including foundation concrete and driveway, along with any affected landscaping. The lot is to be scraped and debris exported to designated dump site in Erie, CO.
| MISC-9450-2022 | Minor | Re-Roof | 157507422035 | 785 TRAIL RIDGE DR LOUISVILLE, CO 80027 | 2022-08-16 14:30 | 4050
Description: Tear off existing roof to deck, install synthetic felt & drip edge entire perimeter, replace vents & pipe jacks, ice & water shield 24” off warm wall. Install 8 squares Malarkey Windsor class 4 IR shingles, 9-nail application.
| MISC-9451-2022 | Minor | Sign | 157508155001 | 1655 CANNON CIR LOUISVILLE, CO 80027 | 2022-08-24 | 13814.2 | Broomfield Sign Company
Description: Install (1) new double face monument sign cabinet onto existing base.
| MISC-9460-2022 | Minor | Re-Siding | 157508220002 | 283 HARPER ST LOUISVILLE, CO 80027 | 2022-08-26 | 33180 | Scottish Home Improvements, LLC
Description: Remove & Replace with Hardie Lap, New Wrap, New Trim, New Soffit & Fascia, New gutters
| RES-1705-2022 | Residential | Addition | 157508310002 | 620 GARFIELD AVE LOUISVILLE, CO 80027 | 2022-08-04 | 350000 | Saul Construction
Description: Demolition of the existing first-floor home not including existing foundation. Foundation and first-floor structure system to remain. Rebuilding first floor and addition of a second floor.
| RES-1878-2022 | Residential | Remodel | 157518105022 | 164 S MADISON AVE LOUISVILLE, CO 80027 | 2022-08-15 | 39363.6 | Blue Ribbon Builders, Inc.
Description: Remodel of Kitchen and 2 bathrooms. All flooring to be replaced. Repaint/Texture interior.
| RES-2184-2022 | Residential | Marshall Fire - Single Family Detached | 157507314020 | 967 ELDORADO LN LOUISVILLE, CO 80027 | 2022-08-02 | 585000 | Krische Construction Inc.
Description: Reconstruction of home from Marshall Fire. Two story home with walkout basement and 2-car garage. Concrete foundation on Piers with wood frame construction for exterior & interior walls, floors & roof. Stone wrap facade along base of house and cementitions siding on upper portion.
| RES-2341-2022 | Residential | Remodel | 157517303007 | 679 AUGUSTA DR LOUISVILLE, CO 80027 | 2022-08-03 | 575000 | D2 Structures LLC
Description: Rehab of partially fire damaged single family detached residence.
| RES-2341-2022 | Residential | Remodel | 157517303007 | 679 AUGUSTA DR LOUISVILLE, CO 80027 | 2022-08-03 | 575000 | D2 Structures, LLC
Description: Rehab of partially fire damaged single family detached residence.
| RES-2341-2022 | Residential | Remodel | 157517303007 | 679 AUGUSTA DR LOUISVILLE, CO 80027 | 2022-08-03 | 575000 | New Rome Enterprises LLC
Description: Rehab of partially fire damaged single family detached residence.
| RES-2390-2022 | Residential | Single Family Attached | 157508312004 | 601 MCKINLEY AVE LOUISVILLE, CO 80027 | 2022-08-04 | 787000 | RDJ Construction, Inc.
Description: Remove existing house and build new single family home with attached garage.
| RES-2422-2022 | Residential | Remodel | 157507128005 | 1573 RIDGEVIEW DR LOUISVILLE, CO 80027 | 2022-08-08 | 270000 | New Beginning Builders LLC
Description: General interior renovation to included New Kitchen, Master bath, secondary bath, stair reconfiguration, partition wall reconfiguration.
| RES-2446-2022 | Residential | Single Family Detached | 157508125002 | 1133 MAIN ST LOUISVILLE, CO 80027 | 2022-08-03 | 840000 | Colson Builders, LLC
Description: New residential SF
| RES-2452-2022 | Residential | Marshall Fire - Single Family Detached | 157507317016 | 970 ARAPAHOE CIR LOUISVILLE, CO 80027 | 2022-08-22 | 560000 | Gen 3 Homes, LLC
Description: Single family home to replace home lost in the Marshall fire.
| RES-2469-2022 | Residential | Marshall Fire - Single Family Detached | 157519104010 | 1006 TURNBERRY CIR LOUISVILLE, CO 80027 | 2022-08-30 | 910000 | Feller Homes
Description: Adam and Dani Sloat are the owners of the existing vacant lot located at 1006 Turnberry Cir., Louisville, their previous home lost to the Marshall fire. The owners are proposing to rebuild a new single family home at a new location in the lot. The previous home was 2,426 SF finished above grade and the proposed home is 2,839 SF finished above grade. The property has been cleared of debris and is ready for construction. The home location and proposed utilities are shown within the site plan. Architectural, structural and mechanical plans for construction are included within this plan set.
| RES-2475-2022 | Residential | Remodel | 157508325003 | 347 W SPRUCE LN LOUISVILLE, CO 80027 | 2022-08-11 | 30000 | WestMark Design & Construction
Description: THE PROPOSED SCOPE OF WORK INCLUDES A REMODEL OF EXISTING FINISHED BASEMENT. THE AREA OF WORK IS APPROXIMATELY 165 SF. THE WORK ADDS A NEW BATHROOM WITH SHOWER, TOILET, AND VANITY.
| RES-2496-2022 | Residential | Remodel | 157518404006 | 640 FAIRFIELD LN LOUISVILLE, CO 80027 | 2022-08-01 | 4000 | BluSky Restoration Contractors, LLC
Description: Insulation removal and install. BluSky Restoration Contractor is the primary contractor, POC: Kameron Rasmussen (720)557-6071
| RES-2496-2022 | Residential | Remodel | 157518404006 | 640 FAIRFIELD LN LOUISVILLE, CO 80027 | 2022-08-01 | 4000 | BluSky Restoration Contractors
Description: Insulation removal and install. BluSky Restoration Contractor is the primary contractor, POC: Kameron Rasmussen (720)557-6071
| RES-2519-2022 | Residential | Remodel | 157517301065 | 228 FAIRFIELD LN LOUISVILLE, CO 80027 | 2022-08-19 | 246515 | Bunn and Sons Home Renovations
Description: Kitchen / Nook / Dinning Room: Remove all existing finishes, fixtures, appliances and materials down to drywall/subfloor and replace with new. Demolish the existing non-load bearing wall currently dividing the Kitchen from the dining room (see Engineer's report). Paint all paintable surfaces. Entry / Family Room: Remove all existing finishes, fixtures and materials down to drywall/subfloor and replace with new. Demolish the existing non-load bearing walls/entertainment center currently dividing the Family Room from the Dining room (see Engineer's report). Re-work the angle of the stairs going from the 1st floor to the 2nd floor from a 45deg to a 90deg landing turn. Paint all paintable surfaces. Powder Room: Remove all existing finishes, fixtures and materials down to drywall/subfloor and replace with new. Paint all paintable surfaces. Study: Remove existing carpet and replace with new. Paint all paintable surfaces. Living Room: Remove existing carpet, gas fireplace, fireplace mantle/surround and replace with new. New fireplace is 36" electric. Remove existing exterior door w/ transom and replace with new. Paint all paintable surfaces. Laundry Room: Remove all existing finishes, fixtures and materials down to drywall/subfloor and replace with new. Paint all paintable surfaces. Master Bathroom / Bedroom / Closet: Remove all existing finishes, fixtures and materials down to drywall/subfloor and replace with new. Paint all paintable surfaces. Basement Bedroom / Flex area / Bathroom: Remove all existing finishes, fixtures and materials down to drywall/subfloor and replace with new. Paint all paintable surfaces.
| RES-2521-2022 | Residential | Marshall Fire - Single Family Detached | 157507320028 | 912 PIKES PEAK LN LOUISVILLE, CO 80027 | 2022-08-08 | 1000000 | Da Vinci Construction and Design
Description: Rebuild of house destroyed by the Marshall Fire
| RES-2531-2022 | Residential | Marshall Fire - Single Family Detached | 157517303004 | 741 ST ANDREWS LN LOUISVILLE, CO 80027 | 2022-08-22 | 1000000 | Wood Brothers Homes, LLC
Description: New Home Construction, Marshall Fire
| RES-2532-2022 | Residential | Marshall Fire - Single Family Detached | 157518240014 | 810 W MULBERRY ST LOUISVILLE, CO 80027 | 2022-08-02 | 1000000 | Built By Krueger
Description: Marshall Fire Rebuild, home has been fully demolished.
| RES-2561-2022 | Residential | Remodel | 157518119013 | 647 W JUNIPER CT LOUISVILLE, CO 80027 | 2022-08-03 | 52000 | Essex Develpoments, LLC
Description: Kitchen Remodel, demolition of existing wall, recess structural beam into ceiling
| RES-2571-2022 | Residential | Marshall Fire - Single Family Detached | 157507316006 | 923 ARAPAHOE CIR LOUISVILLE, CO 80027 | 2022-08-01 | 775000 | New Leaf Properties Inc
Description: Rebuild of home at 923 Arapahoe Circle due to total loss from Marshall fire on 12/30/2021
| RES-2573-2022 | Residential | Marshall Fire - Single Family Detached | 157507322007 | 847 TRAIL RIDGE DR LOUISVILLE, CO 80027 | 2022-08-16 | 1100000 | Wood Brothers Homes
Description: New Home Construction
| RES-2582-2022 | Residential | Marshall Fire - Single Family Detached | 157507322014 | 830 TRAIL RIDGE DR LOUISVILLE, CO 80027 | 2022-08-18 11:32 | 1300000 | Tinker Chance Eiesland Construction LLC
Description: New Single Family Detached home Previous home lost in Marshall Fire
| RES-2593-2022 | Residential | Remodel | 157507429001 | 316 OWL DR UNIT 85 LOUISVILLE, CO 80027 | 2022-08-08 | 22500 | Sun Construction & Design Services, Inc. dba Sun Construction & Facility Services, Inc.
Description: Partial basement finish. Adding family room, bathroom, and closet. Mechanical and laundry room unfinished
| RES-2603-2022 | Residential | Remodel | 157508223009 | 477 W HARPER ST LOUISVILLE, CO 80027 | 2022-08-05 12:20 | 25000 | Giese Construction Co
Description: We are doing a general finish on our basement that includes framing, drywall, recessed lighting, flooring and adding a small bedroom and bathroom. I am attaching a preliminary layout design. Some of the things drawn, such as the laundry sink and electrical subpanel have been removed from the project to keep costs down.
| RES-2612-2022 | Residential | Remodel | 157508440032 | 976 ELM ST LOUISVILLE, CO 80027 | 2022-08-23 | 7800
Description: Move half bath on Main level six feet to the West so that it is against west wall of unit. No structural modifications being made
| RES-2614-2022 | Residential | Marshall Fire - Single Family Detached | 157507316021 | 914 SUNFLOWER ST LOUISVILLE, CO 80027 | 2022-08-17 10:35 | 850000 | Wood Brothers Homes, LLC
Description: New Home Construction
| RES-2616-2022 | Residential | Marshall Fire - Single Family Detached | 157519105021 | 471 MUIRFIELD CIR LOUISVILLE, CO 80027 | 2022-08-29 | 951200 | Elite Homes, Inc.
Description: New construction Single Family home
| RES-2617-2022 | Residential | Remodel | 157508126004 | 1125 LAFARGE AVE LOUISVILLE, CO 80027 | 2022-08-30 | 50000 | BV Builders
Description: Finish a portion of the basement that is not yet finished.
| RES-2630-2022 | Residential | Marshall Fire - Single Family Detached | 157507322008 | 845 TRAIL RIDGE DR LOUISVILLE, CO 80027 | 2022-08-05 15:17 | 1200000 | Wood Brothers Homes, LLC
Description: Rebuild new home, existing was destroyed
| RES-2637-2022 | Residential | Marshall Fire - Single Family Detached | 157507322018 | 822 TRAIL RIDGE DR LOUISVILLE, CO 80027 | 2022-08-24 | 1000000 | Built By Krueger
Description: Marshall Fire Rebuild. Home demolition and debris removal has been completed.
| RES-2643-2022 | Residential | Marshall Fire - Single Family Detached | 157519105003 | 934 ST ANDREWS LN LOUISVILLE, CO 80027 | 2022-08-23 | 905504 | Easton Homes LLC
Description: Marshall fire rebuild
| RES-2646-2022 | Residential | Remodel | 157505303005 | 2324 PARAMOUNT CT LOUISVILLE, CO 80027 | 2022-08-09 | 175000
Description: Over the counter minor interior remodel. No structural modifications, No window or door modifications. No changes to the bathrooms. Kitchen range will move 3'. Laundry closet will move from the main level to the 2nd floor. Reconfigure non-bearing partition walls on the 2nd floor to change bedroom shapes. Remove one non-bearing partition wall in the kitchen. Owner as contractor using licensed electrical and plumbing contractors. Builders' Studio provided the drawings.
| RES-2664-2022 | Residential | Remodel | 157517205016 | 161 S RAINTREE LN LOUISVILLE, CO 80027 | 2022-08-01 | 3000 | BluSky Restoration Contractors, LLC
Description: Removal of insulation in attic and install of R-60.
| RES-2664-2022 | Residential | Remodel | 157517205016 | 161 S RAINTREE LN LOUISVILLE, CO 80027 | 2022-08-01 | 3000 | BluSky Restoration Contractors
Description: Removal of insulation in attic and install of R-60.
| RES-2665-2022 | Residential | Remodel | 157518247038 | 170 MOUNTAIN VIEW CT LOUISVILLE, CO 80027 | 2022-08-25 | 85000 | CR Contracting
Description: Kitchen Renovation
| RES-2666-2022 | Residential | Remodel | 157507130045 | 598 W WILLOW ST LOUISVILLE, CO 80027 | 2022-08-25 | 85000 | CR Contracting
Description: Kitchen and Bathroom Remodel
| RES-2667-2022 | Residential | Marshall Fire - Single Family Detached | 157519105033 | 495 MUIRFIELD CIR LOUISVILLE, CO 80027 | 2022-08-17 | 811238 | Easton Homes LLC
Description: Marshall fire rebuild
| RES-2671-2022 | Residential | Remodel | 157507401015 | 893 WELSH CT LOUISVILLE, CO 80027 | 2022-08-01 | 2538 | Artigiano Construction INC
Description: Removal of existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire Insulation Replacement
| RES-2672-2022 | Residential | Remodel | 157518421017 | 765 CLUB CIR LOUISVILLE, CO 80027 | 2022-08-01 | 3410 | Artigiano Construction INC
Description: Removal of existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire Insulation Replacement
| RES-2675-2022 | Residential | Marshall Fire - Single Family Detached | 157518245020 | 118 CHERRYWOOD LN LOUISVILLE, CO 80027 | 2022-08-15 | 800000 | Cillessen Construction Company
Description: Build a single family residence to replace one of the homes destroyed by the Marshall Fire.
| RES-2679-2022 | Residential | Remodel | 157518113009 | 743 W RAINTREE CT LOUISVILLE, CO 80027 | 2022-08-19 | 1500 | Servpro Of Longmont
Description: Attic Insulation Removal and Replacement
| RES-2685-2022 | Residential | Remodel | 157518247021 | 841 W MULBERRY ST LOUISVILLE, CO 80027 | 2022-08-04 | 17290
Description: Insulate Walls From Exterior. R21 R15 Wall Cavaties. OSB. 1" R5 Foam. House Wrap
| RES-2688-2022 | Residential | Remodel | 157517104008 | 106 ALINE ST LOUISVILLE, CO 80027 | 2022-08-04 | 2440 | Paul Davis of Greater Denver
Description: Replace insulation contaminated by Marshall Fires
| RES-2690-2022 | Residential | Remodel | 157517203002 | 221 LOIS DR LOUISVILLE, CO 80027 | 2022-08-08 | 3762.5 | Yellow Wood Inc DBA Koala Insulation of Boulder
Description: Insulation/removal reinstall
| RES-2694-2022 | Residential | Remodel | 157508475003 | 663 WEST ST LOUISVILLE, CO 80027 | 2022-08-08 | 2053 | Artigiano Construction INC
Description: Removal of existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire Insulation Replacement
| RES-2695-2022 | Residential | Remodel | 157518411013 | 728 ORCHARD DR LOUISVILLE, CO 80027 | 2022-08-08 | 2488 | Artigiano Construction INC
Description: Removal of existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire Insulation Replacement
| RES-2696-2022 | Residential | Remodel | 157518239010 | 870 W MULBERRY ST LOUISVILLE, CO 80027 | 2022-08-08 | 2625 | Artigiano Construction INC
Description: Removal of existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire Insulation Replacement
| RES-2697-2022 | Residential | Remodel | 157508476001 | 560 WEST ST LOUISVILLE, CO 80027 | 2022-08-23 | 3000 | Jabez Construction Services
Description: Remove insulation/ install new
| RES-2697-2022 | Residential | Remodel | 157508476001 | 560 WEST ST LOUISVILLE, CO 80027 | 2022-08-23 | 3000 | Jabez Construction Services
Description: Remove insulation/ install new
| RES-2698-2022 | Residential | Remodel | 157518117015 | 267 S TAFT CT UNIT 38 LOUISVILLE, CO 80027 | 2022-08-08 | 908 | Yellow Wood Inc DBA Koala Insulation of Boulder
Description: Remove reinstall insulation
| RES-2703-2022 | Residential | Remodel | 157508319017 | 270 HOOVER AVE LOUISVILLE, CO 80027 | 2022-08-09 | 5338 | Russelling Pines Construction LLC
Description: Insulation reomval and replacement
| RES-2710-2022 | Residential | Remodel | 157505319003 | 470 EISENHOWER DR LOUISVILLE, CO 80027 | 2022-08-17 | 30000 | Front Range Home and Yard
Description: Updates to finished basement to correct issues caused by the floor sinking 2-3 inches throughout. No changes to finished square footage.
| RES-2711-2022 | Residential | Remodel | 157519111001 | 873 ST ANDREWS LN LOUISVILLE, CO 80027 | 2022-08-18 | 2500 | Fire Loss Response
Description: Insulation removal and reblow
| RES-2717-2022 | Residential | Remodel | 157518310006 | 555 ORCHARD DR LOUISVILLE, CO 80027 | 2022-08-12 12:56 | 4016 | Artigiano Construction INC
Description: Removal of existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire Insulation Replacement
| RES-2722-2022 | Residential | Remodel | 157507211005 | 866 W TAMARISK ST LOUISVILLE, CO 80027 | 2022-08-15 | 3150
Description: Insulation replacement due to Marshall Fire
| RES-2724-2022 | Residential | Remodel | 157507129003 | 575 W LINDEN ST LOUISVILLE, CO 80027 | 2022-08-16 | 2652.16 | Artigiano Construction INC
Description: Remove existing fire ash/ soot contaminated attic insulation and install new insulation - Marshall Fire Insulation replacement
| RES-2726-2022 | Residential | Remodel | 157518409017 | 758 CLUB CIR LOUISVILLE, CO 80027 | 2022-08-16 | 2872.4 | Energy Geeks LLC
Description: remove and reinstall smoke damaged insulation
| RES-2726-2022 | Residential | Remodel | 157518409017 | 758 CLUB CIR LOUISVILLE, CO 80027 | 2022-08-16 | 2872.4 | Energy Geeks LLC
Description: remove and reinstall smoke damaged insulation
| RES-2736-2022 | Residential | Remodel | 157507423009 | 687 WILDROSE WAY LOUISVILLE, CO 80027 | 2022-08-19 | 1700 | Yellow Wood Inc DBA Koala Insulation of Boulder
Description: Insulation replace
| RES-2738-2022 | Residential | Remodel | 157507410034 | 683 OWL DR LOUISVILLE, CO 80027 | 2022-08-19 09:45 | 2277 | NetZero Insulation
Description: Remove/ Replace attic insulation due to Marshall Fire
| RES-2744-2022 | Residential | Remodel | 157508334001 | 200 W SPRUCE ST LOUISVILLE, CO 80027 | 2022-08-18 | 5747.3 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2747-2022 | Residential | Remodel | 157517202008 | 249 LOIS DR LOUISVILLE, CO 80027 | 2022-08-18 | 2886 | Artigiano Construction INC
Description: Remove existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire insulation replacement
| RES-2748-2022 | Residential | Remodel | 157518231013 | 337 S LARK AVE LOUISVILLE, CO 80027 | 2022-08-19 09:45 | 2116.8 | Artigiano Construction INC
Description: Remove existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire insulation replacement
| RES-2751-2022 | Residential | Remodel | 157518232031 | 985 W PRINCETON CT LOUISVILLE, CO 80027 | 2022-08-19 | 3781.8 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2754-2022 | Residential | Remodel | 157518424012 | 561 S MANORWOOD LN LOUISVILLE, CO 80027 | 2022-08-22 | 4000
Description: Insulation replacement
| RES-2755-2022 | Residential | Remodel | 157508214001 | 1304 FRANKLIN AVE LOUISVILLE, CO 80027 | 2022-08-29 | 28224 | Home Crafters
Description: interior asbestos drywall demolition walls and ceilings, linoleum removal in bathrooms
| RES-2758-2022 | Residential | Remodel | 157507432010 | 778 OWL CT LOUISVILLE, CO 80027 | 2022-08-23 | 2000 | Yellow Wood Inc DBA Koala Insulation of Boulder
Description: Remove and replace attic insulation. Install blown-in fiberglass in the attic to achieve R-60 or an average depth of ~20 inches.
| RES-2762-2022 | Residential | Remodel | 157517205024 | 151 S CARTER CT LOUISVILLE, CO 80027 | 2022-08-25 | 11910 | Eco Handyman
Description: Insulation removal & replacement due to Marshall Fires
| RES-2767-2022 | Residential | Remodel | 157507420002 | 792 W PINYON WAY LOUISVILLE, CO 80027 | 2022-08-29 | 4848.73 | Energy Geeks LLC
Description: Remove and reinstall smoke damaged insulation
| RES-2770-2022 | Residential | Remodel | 157517205034 | 181 S RAINTREE LN LOUISVILLE, CO 80027 | 2022-08-26 | 12470 | Eco Handyman
Description: Insulation removal & replacement due to Marshall Fires
| RES-2774-2022 | Residential | Remodel | 157507130033 | 550 W WILLOW CT LOUISVILLE, CO 80027 | 2022-08-29 | 7822.5 | REenergizeCO
Description: Remove and replace attic insulation that was damaged by the Marshall fire
| RES-2775-2022 | Residential | Remodel | 157518112032 | 202 S BUCHANAN AVE LOUISVILLE, CO 80027 | 2022-08-29 | 4238 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2776-2022 | Residential | Remodel | 157518107009 | 232 S POLK AVE LOUISVILLE, CO 80027 | 2022-08-29 | 4405 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2777-2022 | Residential | Remodel | 157517119019 | 359 S JEFFERSON AVE LOUISVILLE, CO 80027 | 2022-08-29 | 4302 | Bestway Insulation, LLC
Description: Marshall Fire Replace Attic Insulation with cellulose product # INS515LD
| RES-2778-2022 | Residential | Remodel | 157507116008 | 556 W ARROWHEAD ST LOUISVILLE, CO 80027 | 2022-08-30 | 3029 | NetZero Insulation
Description: Remove/ Replace attic insulation due to Marshall Fire
| RES-2788-2022 | Residential | Remodel | 157507401007 | 808 OSPREY CT LOUISVILLE, CO 80027 | 2022-08-31 | 2415 | Artigiano Construction INC
Description: Removal of existing fire ash/soot contaminated attic insulation and install new insulation - Marshall Fire Insulation Replacement
| RES-2791-2022 | Residential | Remodel | 157519110009 | 803 SPYGLASS CIR LOUISVILLE, CO 80027 | 2022-08-31 | 6184.75 | DRS, Inc dba Professional Restoration
Description: Remove and replace insulation
| RES-2791-2022 | Residential | Remodel | 157519110009 | 803 SPYGLASS CIR LOUISVILLE, CO 80027 | 2022-08-31 | 6184.75 | JD INSULATION
Description: Remove and replace insulation
| TEMP-0142-2022 | Temporary Use | Construction Trailer | 157516008009 | 602 TAYLOR AVE LOUISVILLE, CO 80027 | 2022-08-09 | 0 | ProStar Construction & Maintenance Services, Inc.
Description: mobile trailer